## UHS Inventory Segrigated
Annexure 1 UHS Main Building
Sr. No | Equipment Description | Quantity | Specification, Make | Capacity | PPM | [5 empty] | PPM by
[5 empty] | Daily | Weekly | Monthly | Quaterly | Half yearly | Yearly | In House | Third Party(if third part Specifiy detailled scope)
AIR-CONDITIONING SYSTEMS
1 | Chiller 1A | 1 | YORK- YKJHJCJ35DHFS | 5760 Kw | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
2 | Chiller 1B | 1 | YORK- YKJHJCJ35DHFS | 5760 Kw | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
3 | Chiller 1C | 1 | YORK- YKJHJCJ35DHFS | 5760 Kw | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
4 | Chiller 1D | 1 | YORK- YKJHJCJ35DHFS | 5760 Kw | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
5 | AHU-1 | 1 | YORK | 9965l/s | √ | √ | √ | √ | √ | √ | √
6 | AHU-3 | 1 | YORK | 12690 l/s | √ | √ | √ | √ | √ | √ | √
7 | AHU-4 | 1 | YORK | 6215 l/s | √ | √ | √ | √ | √ | √ | √
8 | AHU-5 | 1 | YORK | 6480 l/s | √ | √ | √ | √ | √ | √ | √
9 | AHU-6 | 1 | YORK | 10115 l/s | √ | √ | √ | √ | √ | √ | √
10 | AHU-7 | 1 | YORK | 9630 l/s | √ | √ | √ | √ | √ | √ | √
11 | AHU-8 | 1 | YORK | 6570 l/s | √ | √ | √ | √ | √ | √ | √
12 | AHU-9 | 1 | YORK | 9335 l/s | √ | √ | √ | √ | √ | √ | √
13 | AHU-10 A | 1 | YORK | 21920 l/s | √ | √ | √ | √ | √ | √ | √
14 | AHU-10 B | 1 | YORK | 18220 l/s | √ | √ | √ | √ | √ | √ | √
15 | AHU-11 | 1 | YORK | 7270 l/s | √ | √ | √ | √ | √ | √ | √
16 | AHU-12 | 1 | YORK | 11435 l/s | √ | √ | √ | √ | √ | √ | √
17 | AHU-13 | 1 | YORK | 8555 l/s | √ | √ | √ | √ | √ | √ | √
18 | AHU-14 | 1 | YORK | 7530 l/s | √ | √ | √ | √ | √ | √ | √
19 | AHU-15 | 1 | YORK | 3000 l/s | √ | √ | √ | √ | √ | √ | √
20 | AHU-16 | 1 | YORK | 22780 l/s | √ | √ | √ | √ | √ | √ | √
21 | AHU-17 | 1 | YORK | 10395 l/s | √ | √ | √ | √ | √ | √ | √
22 | AHU-18 | 1 | YORK | 11700 l/s | √ | √ | √ | √ | √ | √ | √
23 | AHU-19 | 1 | YORK | 10525 l/s | √ | √ | √ | √ | √ | √ | √
24 | AHU-20 | 1 | YORK | 10600 l/s | √ | √ | √ | √ | √ | √ | √
25 | AHU-21 | 1 | YORK | 10770 l/s | √ | √ | √ | √ | √ | √ | √
26 | AHU-22 | 1 | YORK | 9750 l/s | √ | √ | √ | √ | √ | √ | √
27 | AHU-23 | 1 | YORK | 11340 l/s | √ | √ | √ | √ | √ | √ | √
28 | AHU-24 | 1 | YORK | 9560 l/s | √ | √ | √ | √ | √ | √ | √
29 | AHU-25 | 1 | YORK | 1305 l/s | √ | √ | √ | √ | √ | √ | √
30 | AHU-26A | 1 | YORK | 800 l/s | √ | √ | √ | √ | √ | √ | √
31 | AHU-26B | 1 | YORK | 800 l/s | √ | √ | √ | √ | √ | √ | √
32 | AHU-27 | 1 | YORK | 9850 l/s | √ | √ | √ | √ | √ | √ | √
33 | AHU-28A | 1 | YORK | 1760 l/s | √ | √ | √ | √ | √ | √ | √
34 | AHU-28B | 1 | YORK | 1400 l/s | √ | √ | √ | √ | √ | √ | √
35 | AHU-29 | 1 | YORK | 160 l/sec | √ | √ | √ | √ | √ | √ | √
36 | AHU-30 | 1 | YORK | 160 l/sec | √ | √ | √ | √ | √ | √ | √
37 | FCU-001 to 145 | 145 | YORK | 270 to 556 l/s |  |  | √ | √ | √ | √ | √
38 | FCU-1A | 1 | YORK | 2169 l/s |  |  | √ | √ | √ | √ | √
39 | FCU-1B | 1 | YORK | 2169 l/s |  |  | √ | √ | √ | √ | √
40 | FCU-1C | 1 | YORK | 397 l/s |  |  | √ | √ | √ | √ | √
41 | FCU-1D | 1 | YORK | 397 l/s |  |  | √ | √ | √ | √ | √
42 | Primary CHW Pump 1A | 4 | IIT BELL & GOSSET | 139 l/s |  |  | √ | √ | √ | √ | √
43 | Secondary CHW Pump 3A | 1 | IIT BELL & GOSSET | 115 l/s |  |  | √ | √ | √ | √ | √
44 | Secondary CHW Pump 3B | 1 | IIT BELL & GOSSET | 115 l/s |  |  | √ | √ | √ | √ | √
45 | Secondary CHW Pump 4A | 1 | IIT BELL & GOSSET | 100 l/s |  |  | √ | √ | √ | √ | √
46 | Secondary CHW Pump 4B | 1 | IIT BELL & GOSSET | 100 l/s |  |  | √ | √ | √ | √ | √
47 | Secondary CHW Pump 5A | 1 | IIT BELL & GOSSET | 183 l/s |  |  | √ | √ | √ | √ | √
48 | Secondary CHW Pump 5B | 1 | IIT BELL & GOSSET | 183 l/s |  |  | √ | √ | √ | √ | √
49 | Secondary CHW Pump 6A | 1 | IIT BELL & GOSSET | 21.5 l/s |  |  | √ | √ | √ | √ | √
50 | Secondary CHW Pump 6B | 1 | IIT BELL & GOSSET | 21.5 l/s |  |  | √ | √ | √ | √ | √
51 | Secondary CHW Pump 8A | 1 | IIT BELL & GOSSET | 21.5 l/s |  |  | √ | √ | √ | √ | √
52 | Secondary CHW Pump 8B | 1 | IIT BELL & GOSSET | 21.5 l/s |  |  | √ | √ | √ | √ | √
53 | Condenser Water Pump 2A | 4 | IIT BELL & GOSSET | 203 l/s |  |  | √ | √ | √ | √ | √
54 | Condensor water Make up Pump | 2 | KSB | 14.4 l/s |  |  | √ | √ | √ | √ | √
55 | DIESEL TRANSFER PUMP Set -1 | 2 | VIKING PUMP | 30lpm |  |  | √ | √ | √ | √ | √
56 | DIESEL TRANSFER PUMP Set-2 | 2 | VIKING PUMP | 30lpm |  |  | √ | √ | √ | √ | √
57 | DIESELL TRANSFER PUMP Set-3 | 2 | VIKING PUMP | 30lpm |  |  | √ | √ | √ | √ | √
58 | LTHW Pump 10A | 1 | SPP, UK | 21 l/s | √ | √ | √ | √ | √ | √ | √
59 | LTHW Pump 10B | 1 | SPP, UK | 21 l/s | √ | √ | √ | √ | √ | √ | √
60 | LTHW Pump 11A | 1 | SPP, UK | 18 l/s | √ | √ | √ | √ | √ | √ | √
61 | LTHW Pump 11B | 1 | SPP, UK | 18 l/s | √ | √ | √ | √ | √ | √ | √
62 | LTHW Pump 12A | 1 | SPP, UK | 20 l/s | √ | √ | √ | √ | √ | √ | √
63 | LTHW Pump 12B | 1 | SPP, UK | 20 l/s | √ | √ | √ | √ | √ | √ | √
64 | LTHW Pump 20A | 1 | SPP, UK | 30 l/s | √ | √ | √ | √ | √ | √ | √
65 | LTHW Pump 20B | 1 | SPP, UK | 30 l/s | √ | √ | √ | √ | √ | √ | √
66 | LTHW Pump 20C | 1 | SPP, UK | 30 l/s | √ | √ | √ | √ | √ | √ | √
67 | Steam Boiler & Accessories 1 | 1 | COCHRAN | 10000 kg/hr | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
68 | Steam Boiler & Accessories 2 | 1 | COCHRAN | 10000 kg/hr | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
69 | Boiler Feed Watar Pump | 4 | GRANFOS | 10 l/s | √ | √ | √ | √ | √ | √ | √
70 | Condensate Recovery Pump | 4 | GRANFOS | 1000 ltrs | √ | √ | √ | √ | √ | √ | √
71 | Foul Extract Fans-F106 | 1 | ROSENBERG, GERMANY | 450 l/s |  |  | √ | √ | √ | √ | √
72 | Foul Extract Fans-F107 | 1 | ROSENBERG, GERMANY | 1650 l/s |  |  | √ | √ | √ | √ | √
73 | Foul Extract Fans-F203A | 1 | ROSENBERG, GERMANY | 3680 l/s |  |  | √ | √ | √ | √ | √
74 | Foul Extract Fans-F303 | 1 | ROSENBERG, GERMANY | 585 l/s |  |  | √ | √ | √ | √ | √
75 | Foul Extract Fans-F405 | 1 | ROSENBERG, GERMANY | 1120 l/s |  |  | √ | √ | √ | √ | √
76 | Foul Extract Fans-F302 | 1 | ROSENBERG, GERMANY | 855 l/s |  |  | √ | √ | √ | √ | √
77 | Foul Extract Fans-F203B | 1 | ROSENBERG, GERMANY | 210 l/s |  |  | √ | √ | √ | √ | √
78 | Foul Extract Fans-F203C | 1 | ROSENBERG, GERMANY | 1255 l/s |  |  | √ | √ | √ | √ | √
79 | Foul Extract Fans-F106A | 1 | ROSENBERG, GERMANY | 3355 l/s |  |  | √ | √ | √ | √ | √
80 | Foul Extract Fans-F202 | 1 | ROSENBERG, GERMANY | 1645 l/s |  |  | √ | √ | √ | √ | √
81 | General Extract Fan F109 A & B | 1 | ROSENBERG, GERMANY | 2050 l/s |  |  | √ | √ | √ | √ | √
82 | General Extract Fan F100-1 | 1 | ROSENBERG, GERMANY | 2200 l/s |  |  | √ | √ | √ | √ | √
83 | General Extract Fan F204 A & B | 1 | ROSENBERG, GERMANY | 3862/5793 l/s |  |  | √ | √ | √ | √ | √
84 | General Extract Fan F215 | 1 | ROSENBERG, GERMANY | 195 l/s |  |  | √ | √ | √ | √ | √
85 | General Extract Fan F109 | 1 | ROSENBERG, GERMANY | 380 l/s |  |  | √ | √ | √ | √ | √
86 | General Extract Fan F403 | 1 | ROSENBERG, GERMANY | 1070 /s |  |  | √ | √ | √ | √ | √
87 | General Extract Fan F105L | 1 | ROSENBERG, GERMANY | 310 /s |  |  | √ | √ | √ | √ | √
88 | General Extract Fan F105R | 1 | ROSENBERG, GERMANY | 385 /s |  |  | √ | √ | √ | √ | √
89 | General Extract Fan F301 | 1 | ROSENBERG, GERMANY | 645 l/s |  |  | √ | √ | √ | √ | √
90 | Kitchen Extract Fans F106L | 1 | ROSENBERG, GERMANY | 820 l/s |  |  | √ | √ | √ | √ | √
91 | Kitchen Extract Fans F106R | 1 | ROSENBERG, GERMANY | 570 l/s |  |  | √ | √ | √ | √ | √
92 | Kitchen Extract Fans F200 | 1 | ROSENBERG, GERMANY | 500 l/s |  |  | √ | √ | √ | √ | √
93 | Kitchen Extract Fans F203 | 1 | ROSENBERG, GERMANY | 1420 l/s |  |  | √ | √ | √ | √ | √
94 | Kitchen Extract Fans F210 | 1 | ROSENBERG, GERMANY | 500 l/s |  |  | √ | √ | √ | √ | √
95 | Kitchen Extract Fans F201 | 1 | ROSENBERG, GERMANY | 405 l/s |  |  | √ | √ | √ | √ | √
96 | Kitchen Extract Fans F206 A& B | 1 | ROSENBERG, GERMANY | 11790 l/s |  |  | √ | √ | √ | √ | √
97 | Kitchen Extract Fans F402 | 1 | ROSENBERG, GERMANY | 555 l/s |  |  | √ | √ | √ | √ | √
98 | Kitchen Extract Fans KEF-01 | 1 | ROSENBERG, GERMANY | 385 l/s |  |  | √ | √ | √ | √ | √
99 | Kitchen Extract Fans F101 | 1 | ROSENBERG, GERMANY | 370 l/s |  |  | √ | √ | √ | √ | √
100 | Laboratory Extract Fans F407 A & B | 1 | ROSENBERG, GERMANY | 350 l/s |  |  | √ | √ | √ | √ | √
101 | Laboratory Extract Fans F408 A& B | 1 | ROSENBERG, GERMANY | 300 l/s |  |  | √ | √ | √ | √ | √
102 | Laboratory Extract Fans F409 A& B | 1 | ROSENBERG, GERMANY | 300 l/s |  |  | √ | √ | √ | √ | √
103 | Laboratory Extract Fans F410 A & B | 1 | ROSENBERG, GERMANY | 300 l/s |  |  | √ | √ | √ | √ | √
104 | Laboratory Extract Fans F411 A&B | 1 | ROSENBERG, GERMANY | 450 l/s |  |  | √ | √ | √ | √ | √
105 | Laboratory Extract Fans F412 | 1 | ROSENBERG, GERMANY | 450 l/s |  |  | √ | √ | √ | √ | √
106 | Laboratory Extract Fans F413 | 1 | ROSENBERG, GERMANY | 300 l/s |  |  | √ | √ | √ | √ | √
107 | Laboratory Extract Fans F414 | 1 | ROSENBERG, GERMANY | 165 l/s |  |  | √ | √ | √ | √ | √
108 | Laboratory Extract Fans F415 | 1 | ROSENBERG, GERMANY | 350 l/s |  |  | √ | √ | √ | √ | √
109 | Laboratory Extract Fans MHEF-01 | 1 | ROSENBERG, GERMANY | 300 l/s |  |  | √ | √ | √ | √ | √
110 | Soil Extract Fans F209 | 1 | ROSENBERG, GERMANY | 235 l/s |  |  | √ | √ | √ | √ | √
111 | Soil Extract Fans F110 | 1 | ROSENBERG, GERMANY | 435 l/s |  |  | √ | √ | √ | √ | √
112 | Soil Extract Fans SEF-01 | 1 | ROSENBERG, GERMANY | 260 l/s |  |  | √ | √ | √ | √ | √
113 | Soil Extract Fans F105M | 1 | ROSENBERG, GERMANY | 65 l/s |  |  | √ | √ | √ | √ | √
114 | Clinical Exhaust Fans REF-01 | 1 | ROSENBERG, GERMANY | 260 L/s |  |  | √ | √ | √ | √ | √
115 | Clinical Exhaust Fans WEF-01 | 1 | ROSENBERG, GERMANY | 320 l/s |  |  | √ | √ | √ | √ | √
116 | Clinical Exhaust FansDEF-01 | 1 | ROSENBERG, GERMANY | 300 l/s |  |  | √ | √ | √ | √ | √
117 | Clinical Exhaust FansCEF-01 | 1 | ROSENBERG, GERMANY | 570 l/s |  |  | √ | √ | √ | √ | √
118 | Clinical Exhaust Fans F207 | 1 | ROSENBERG, GERMANY | 1250 l/s |  |  | √ | √ | √ | √ | √
119 | Inergen Gas Extract Fan EF-1G-1 | 1 | ROSENBERG, GERMANY | 700 l/s |  |  | √ | √ | √ | √ | √
120 | Inergen Gas Extract Fan EF-1G-01 | 1 | ROSENBERG, GERMANY | 700 l/s |  |  | √ | √ | √ | √ | √
121 | Smoke Extract Fans SEF 1A &1B | 1 | ROSENBERG, GERMANY | 45000 l/s |  |  | √ | √ | √ | √ | √
122 | Smoke Extract Fans SEF 2A &1B | 1 | ROSENBERG, GERMANY | 45000 l/S |  |  | √ | √ | √ | √ | √
123 | Transformer Room Extract F212-4&5 | 1 | ROSENBERG, GERMANY | 9000 l/s |  |  | √ | √ | √ | √ | √
124 | Generator Room VentilationFan F211 | 1 | ROSENBERG, GERMANY | 4100 l/s |  |  | √ | √ | √ | √ | √
125 | Battery Exctact F212 | 1 | ROSENBERG, GERMANY | 750 l/s | √ | √ | √ | √ | √ | √ | √
126 | Isolation Room F401 | 1 | ROSENBERG, GERMANY | 670 l/s | √ | √ | √ | √ | √ | √ | √
127 | Isolation Room F 202 E & F | 1 | ROSENBERG, GERMANY | 265 l/s | √ | √ | √ | √ | √ | √ | √
128 | Isolation Room F102 C&D | 1 | ROSENBERG, GERMANY | 250 l/s | √ | √ | √ | √ | √ | √ | √
129 | Isolation Room F102 E & F | 1 | ROSENBERG, GERMANY | 535 l/s | √ | √ | √ | √ | √ | √ | √
130 | Isolation Room F202 C& d | 1 | ROSENBERG, GERMANY | 250 l/t | √ | √ | √ | √ | √ | √ | √
131 | Isolation Room F202 A&B | 1 | ROSENBERG, GERMANY | 255 l/s | √ | √ | √ | √ | √ | √ | √
132 | Isolation Room F-IEF-01 | 1 | ROSENBERG, GERMANY | 565 l/s | √ | √ | √ | √ | √ | √ | √
133 | Isolation Room F102-A&B | 1 | ROSENBERG, GERMANY | 415 l/s | √ | √ | √ | √ | √ | √ | √
134 | Staircase Pressurization Fans SPF 1A&B | 1 | ROSENBERG, GERMANY | 10000 l/s |  |  | √ | √ | √ | √ | √
135 | Staircase Pressurization Fans SPF 2A | 1 | ROSENBERG, GERMANY | 10000 l/s |  |  | √ | √ | √ | √ | √
136 | Staircase Pressurization Fans SPF 3A&B | 1 | ROSENBERG, GERMANY | 10000 l/s |  |  | √ | √ | √ | √ | √
137 | Staircase Pressurization Fans SPF 4A&B | 1 | ROSENBERG, GERMANY | 10000 l/s |  |  | √ | √ | √ | √ | √
138 | Staircase Pressurization Fans SPF 5A&B | 1 | ROSENBERG, GERMANY | 10000 l/s |  |  | √ | √ | √ | √ | √
139 | Staircase Pressurization Fans SPF 6A&B | 1 | ROSENBERG, GERMANY | 10000 l/s |  |  | √ | √ | √ | √ | √
140 | Staircase Pressurization Fans SPF 7A&B | 1 | ROSENBERG, GERMANY | 10000 l/s |  |  | √ | √ | √ | √ | √
141 | Staircase Pressurization Fans SPF 8A&B | 1 | ROSENBERG, GERMANY | 10000 l/s |  |  | √ | √ | √ | √ | √
142 | Staircase Pressurization Fans SPF 9A&B | 1 | ROSENBERG, GERMANY | 10000 l/s |  |  | √ | √ | √ | √ | √
143 | Staircase Pressurization Fans SPF 10A&B | 1 | ROSENBERG, GERMANY | 10000 l/s |  |  | √ | √ | √ | √ | √
144 | Staircase Pressurization Fans SPF 11A&B | 1 | ROSENBERG, GERMANY | 10000 l/s |  |  | √ | √ | √ | √ | √
145 | Staircase Pressurization Fans SPF 2A&B | 1 | ROSENBERG, GERMANY | 10000 l/s |  |  | √ | √ | √ | √ | √
146 | Extract Fan ECB-2 | 1 | ROSENBERG, GERMANY | 1000 l/s |  |  | √ | √ | √ | √ | √
147 | Extract Fan ECB-2A | 1 | ROSENBERG, GERMANY | 1300 l/s |  |  | √ | √ | √ | √ | √
148 | Extract Fan R200 STAHL | 1 | ROSENBERG, GERMANY | 200 l/s |  |  | √ | √ | √ | √ | √
149 | Split A/C Units | 24 | YORK/Wespoint/SAMCO | 30000BTU |  |  | √ | √ | √ | √ | √
150 | Split A/C Units (FAHU) | 1 | YORK | 24000BTU |  |  | √ | √ | √ | √ | √
151 | Cooling Tower 1 | 1 | MARLEY-SPX | 203 l/s | √ | √ | √ | √ | √ | √ | √
152 | Cooling Tower 2 | 1 | MARLEY-SPX | 203 l/s | √ | √ | √ | √ | √ | √ | √
153 | Cooling Tower 3 | 1 | MARLEY-SPX | 203 l/s | √ | √ | √ | √ | √ | √ | √
154 | Cooling Tower 4 | 1 | MARLEY-SPX | 203 l/s | √ | √ | √ | √ | √ | √ | √
155 | Cooling Tower 5 | 1 | MARLEY-SPX | 203 l/s | √ | √ | √ | √ | √ | √ | √
156 | Cooling Tower 6 | 1 | MARLEY-SPX | 203 l/s | √ | √ | √ | √ | √ | √ | √
157 | Cooling Tower 7 | 1 | MARLEY-SPX | 203 l/s | √ | √ | √ | √ | √ | √ | √
158 | Cooling Tower 8 | 1 | MARLEY-SPX | 203 l/s | √ | √ | √ | √ | √ | √ | √
159 | Motorized Fire & Smoke Dampers (lot) | 1 | BETEC CAD |  |  |  | √ | √ | √ | √ | √
160 | Fire Dampers (lot) | 1 | BETEC CAD |  |  |  | √ | √ | √ | √ | √
161 | Air & Dirt Separator/Vacuum Dearaetor HC200F | 1 | SPIROTECH, NETHERLANDS | 360 m3/h |  |  | √ | √ | √ | √ | √
162 | Air & Dirt Separator/Vacuum Dearaetor HC500F | 1 | SPIROTECH, NETHERLANDS | 2070 m3/h | √ | √ | √ | √ | √ | √ | √
163 | Chemical Dosing System 1 | 1 | VASUCHEM, TECHNOLOGIES | 5 ltrs/hr | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
164 | Chemical Dosing System 2 | 1 | VASUCHEM, TECHNOLOGIES | 5 ltrs/hr | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
165 | Chemical Dosing System 3 | 1 | VASUCHEM, TECHNOLOGIES | 5 ltrs/hr | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
166 | Chemical Dosing System 4 | 1 | VASUCHEM, TECHNOLOGIES | 10 ltrs/hr | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
167 | Chemical Dosing System 5 | 1 | VASUCHEM, TECHNOLOGIES | 10 ltrs/hr | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
168 | Air Curtain K-34 | 4 | OLEFINI, GREECE | 2800/2370 m3/h | √ |  |  | √ | √ | √ | √
169 | Air Curtain K-17 | 4 | OLEFINI, GREECE | 2271/2044/1817 m3/h | √ |  |  | √ | √ | √ | √
170 | Heater Batteries | 750 | BIOSOL, GREECE | 55L/Sec to 1600 (approx) L/S |  |  |  | √ | √ | √ | √
171 | Pressurization Unit | 2 | ITT Bell & Gosset | 1.5 l/s | √ | √ | √ | √ | √ | √ | √
172 | BMS System | 1 | HONEYWELL | Complete Facility | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
173 | Refrigerant Recovery Unit | 1 | YORK | 500 kg | √ | √ | √ | √ | √ | √ | √
174 | Packaged Unit | 1 | YORK | 32 TR | √ | √ | √ | √ | √ | √ | √
175 | Liminar Flow and HEPA Filter Terminals | 326 | CMS | 60x60 |  |  | √ | √ |  | √ | √
PLUMBING & DRAINAGE SYSTEMS
1 | Heat Exchanger (LTHW) | 3 | ALFA LAVAL | 2500 kw | √ | √ | √ | √ | √ | √ | √
2 | Heat Exchanger (Domestic Cold Water) | 3 | Sonaty | 235kw | √ | √ | √ | √ | √ | √ | √
3 | Heat Exchanger (Domestic Hot Water) | 3 | ALFA LAVAL | 800kw | √ | √ | √ | √ | √ | √ | √
4 | Heat Exchanger (RO Water) | 1 | Sonaty | 94kw | √ | √ | √ | √ | √ | √ | √
5 | Sump Pumps-SPB-01 Duty | 1 | KSB | 10.75 l/s | √ | √ | √ | √ | √ | √ | √
6 | Sump Pumps-SPB-01 Standby | 1 | KSB | 10.75 l/s | √ | √ | √ | √ | √ | √ | √
7 | Sump Pumps-SPB-02 Duty | 1 | KSB | 6 l/s | √ | √ | √ | √ | √ | √ | √
8 | Sump Pumps-SPB-02 Standby | 1 | KSB | 6 l/s | √ | √ | √ | √ | √ | √ | √
9 | Sump Pumps-SPB-03 Duty | 1 | KSB | 17.5 l/s | √ | √ | √ | √ | √ | √ | √
10 | Sump Pumps-SPB-03 Standby | 1 | KSB | 17.5 l/s | √ | √ | √ | √ | √ | √ | √
11 | Sump Pumps-SPB-04 Duty | 1 | KSB | 11.1 l/s | √ | √ | √ | √ | √ | √ | √
12 | Sump Pumps-SPB-04 Standby | 1 | KSB | 11.1 l/s | √ | √ | √ | √ | √ | √ | √
13 | Sump Pumps-SPB-05 Duty | 1 | KSB | 4.88 l/s | √ | √ | √ | √ | √ | √ | √
14 | Sump Pumps-SPB-05 Standby | 1 | KSB | 4.88 l/s | √ | √ | √ | √ | √ | √ | √
15 | Sump Pumps-SPB-06 Duty | 1 | KSB | 6.45 l/s | √ | √ | √ | √ | √ | √ | √
16 | Sump Pumps-SPB-06 Standby | 1 | KSB | 6.45 l/s | √ | √ | √ | √ | √ | √ | √
17 | Sump Pumps-SPB-07 Duty | 1 | KSB | 1.00 l/s | √ | √ | √ | √ | √ | √ | √
18 | Sump Pumps-SPB-07 Standby | 1 | KSB | 1.00 l/s | √ | √ | √ | √ | √ | √ | √
19 | Sump Pumps-SPB-08 Duty | 1 | KSB | 1.00 l/s | √ | √ | √ | √ | √ | √ | √
20 | Sump Pumps-SPB-08 Standby | 1 | KSB | 1.00 l/s | √ | √ | √ | √ | √ | √ | √
21 | Sump Pumps-ME11-Duty | 1 | KSB | 10 l/s | √ | √ | √ | √ | √ | √ | √
22 | Sump Pumps-ME11 Standby | 1 | KSB | 10 l/s | √ | √ | √ | √ | √ | √ | √
23 | Water Filtration & RO System | 3 | Culligan | 4 l/s | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
24 | Cold Water Booster Pumps | 6 | KSB | 8 l/sec | √ | √ | √ | √ | √ | √ | √
25 | Cooled Cold Circulation Pump | 2 | KSB | 40l/sec | √ | √ | √ | √ | √ | √ | √
26 | Water Heaters HSE 66-10 SL | 2 | Ariston | 250 ltrs |  |  |  | √ | √ | √ | √
27 | Water Heaters HSE 30-6 SL | 1 | Ariston | 125 ltrs |  |  |  | √ | √ | √ | √
28 | RCC Water Tank 1 (Domestic Water) | 1 | Local | 448.71 m3 |  |  |  |  | √ | √ |  | Semi annually has to clean water tank and Share reports by authorized vendor
29 | RCC Water Tank 2 (Domestic Water) | 1 | Local | 494 m3 |  |  |  |  | √ | √ |  | Semi annually has to clean water tank and Share reports by authorized vendor
30 | RCC Water Tank (Fire) | 1 | Local | 227.12m3 | [5 empty] | √ |  | Annually has to clean water tank and Share reports by authorized vendor
31 | Interceptors & Traps | 88 | Hepworth | 6" |  |  | √ | √ | √ | √ | √
32 | GRP Water Storage Tank (2+2.5)x3x2xmtr | 1 | Bridgetone, Japan | 27 m3 |  |  |  |  | √ | √ | √
33 | GRP Water Storage Tank (1.5+1..5)x2x3.5xmtr | 1 | Bridgetone, Japan | 21 m3 |  |  |  |  | √ | √ | √
34 | Cooling Tower Make-up RCC Tank | 2 | RCC Concrete | 278000 USG | [5 empty] | √ |  | Every 2 years has to clean water tank and Share reports by authorized vendor
35 | Hot Water Buffer Vessel | 2 | Rycroft- UK | 2500 liters |  | √ | √ | √ | √ | √ | √
36 | Compressed Air System-Non-Medical | 3 | Local | 3hp | √ | √ | √ | √ | √ | √ | √
37 | Thermostat Mixing Valves & Temperature Sensors | 325 | Caleffi SPA Italy | 4 ltr/min. |  |  | √ |  |  |  | √
38 | Water Hammer Arrestor | 500 | ZURN-USA | 1/2" |  |  |  | √ | √ | √ | √
39 | RO Product Water Supply Pump | 3 | KSB | 4.5 l/sec | √ | √ | √ | √ | √ | √ | √
40 | Make Up Pump for RO System to Feed Water Tank | 2 | KSB | 11.5 kw | √ |  | √ | √ |  | √ | √
41 | Boiler Make-up Pump | 2 | KSB | 11.5 kw | √ |  | √ | √ |  | √ | √
42 | Boilr Water Make-up Tank GRP | 1 | Bridgetone, Japan | 27 m3 | √ |  | √ | √ |  | √ | √
43 | Domestic Hot Water Pump | 4 | KSB | 17 l/sec | √ |  | √ | √ |  | √ | √
44 | Cooling Tower Make Up Water Pump | 2 | KSB | 14.4 l/s | √ |  | √ | √ |  | √ | √
45 | Fountain Pump | 8 | Asterel | 3 HP | √ |  | √ | √ |  | √ | √
46 | Fountain Filtration system | 1 | Asterel |  | √ | √ | √ | √ | √ | √ | √
47 | Zone Control Valves Domestic Water | 30 | Victaulic | 6" |  |  |  | √ |  | √ | √
48 | Grease Trap for kitchen Drainage | 3 | Hepworth | 2655x800x1505 |  | √ | √ | √ | √ | √ | √ | every monthly client will arrange third party
49 | RCC Tank -278,000 Gallons- Partition tank | 1 | RCC Concrete | 278000 Gallon | [5 empty] | √ |  | Every 2 years has to clean water tank and Share reports by authorized vendor
50 | Kitchen Duct Disinfection and Cleaning | 1 | MS Fire rated | 165 m2 |  |  |  | √ | √ | √ |  | Every Quaterly by third party
51 | Kitchen Hood Disinfection and Cleaning | 1 | SS Kitchen Hood | 4.8m |  |  | √ | √ | √ | √ |  | Every Quaterly by third party
Fire Fighting
1 | Wet Riser Fire Hose System | 1 | Local/NAFFCO | Complete Building |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
2 | Sprinkler System | 1 | Reliable | Complete Building |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
3 | FIRE Electric Pump -1 | 1 | TECO | 125 hp |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
4 | FIRE Diesal PUMP-2 | 1 | PATTERSON | 127hp |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
5 | FIRE PUMP Jockey-1 | 1 | GRUNFOS | 1.5 kw |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
6 | Fire Extinguishers (ADCP- 6kg ) | 26 | SAFEX/NAFFCO | 6 kg |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
7 | Fire Hose Reel Cabinet Assembly | 92 | NAFFCO |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
8 | CO2 5kg Extinguisher | 186 | NAFFCO | 5kgs |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
9 | DCP 6kg Extinguisher | 158 | NAFFCO | 6kgs |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
10 | ADCP 6kg Extinguisher | 33 | NAFFCO | 6kgs |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
11 | Foam Extinguisher | 6 | NAFFCO |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
12 | Wet Chemical System | 2 | KIDDE Fire System | 50 Kg |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
13 | Fire Blanker | 2 | NAFFCO | 4x4ft |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
14 | FM 200 Cylinders | 13 | NAFFCO |  |  |  | √ | √ |  |  |  | Third party for PM and operations by In house
15 | Zone Control Valves | 14 |  |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
16 | Breaching Inlet | 2 | SAFEX |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
17 | Pre- Action System Pump | 1 | MARATHON | 1 hp |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
| MEDICAL GAS SYSTEMS | [8 empty] | √
1 | Anesthetic Gas Scavenging System | 1 | MEDAP |  | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
2 | Central Oxygen Plant Main tank | 1 | Linde | 6050 liters | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
3 | Central Oxygen Plant Manifold Panel 1 | 1 | MEDAP | Complete Building | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
4 | Central Oxygen Plant Manifold Panel 2 | 1 | Phoenix | Complete Building | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
5 | Central Nitrous Oxide Supply Manifold panel | 1 | MEDAP | Complete Building | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
6 | CO2 Manifold Panel ( IVF ) | 1 | Phoenix | IVF | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
7 | Nitrogen Manifold Panle ( IVF) | 1 | Phoenix | IVF | √ | √ | √ | √ | √ | √ | √
8 | Central Oxygen Plant Manifold( 1) 240 ft3 Cylinder | 20 | Airtech | 4800 ft3 | √ | √ | √ | √ | √ | √ | √
9 | Central Oxygen Plant Manifold (2) 240 ft3 Cylinder | 10 | Airtech | 2400 ft3 | √ | √ | √ | √ | √ | √ | √
10 | Central Oxygen Plant backup 240 ft3 Cylinder | 20 | Airtech | 4800 ft3 | √ | √ | √ | √ | √ | √ | √
11 | Portable Cylinder Oxygen 24 ft³ Cylinder | 152 | Airtech | 3648 ft3 | √ | √ | √ | √ | √ | √ | √
12 | Portable Cylinder Oxygen 48 ft³ Cylinder | 10 | Airtech | 480 ft3 | √ | √ | √ | √ | √ | √ | √
13 | Portable Cylinder Oxygen 150 ft³ Cylinder | 4 | Airtech | 600 ft3 | √ | √ | √ | √ | √ | √ | √
14 | Portable Cylinder Nitrous Oxide 24 ft3 | 14 | Airtech | 336 ft3 | √ | √ | √ | √ | √ | √ | √
15 | Portable Cylinder Nitrous Oxide 240 ft3 | 28 | Airtech | 6720 ft3 | √ | √ | √ | √ | √ | √ | √
16 | Portable Cylinder CO2 3Kg Cylinder | 19 | Airtech | 57 kg | √ | √ | √ | √ | √ | √ | √
17 | Portable Cylinder CO2 20Kg Cylinder | 2 | Airtech | 40 kg | √ | √ | √ | √ | √ | √ | √
18 | CO2 Manifold Panel ( IVF ) 30 Kg Cylinder | 6 | Airtech | 180 kg | √ | √ | √ | √ | √ | √ | √
19 | Nitrous Oxide Supply Manifold 240 ft3 Cylinder | 14 | Airtech | 3360 ft3 | √ | √ | √ | √ | √ | √ | √
20 | Nitrous Oxide Supply Backup 240 ft3 Cylinder | 14 | Airtech | 3360 ft3 | √ | √ | √ | √ | √ | √ | √
21 | Nitrogen Manifold 3000 Psi Cylinder | 6 | Airtech | 3000 Psi | √ | √ | √ | √ | √ | √ | √
22 | Liquid Nitrogen 75 liter Cylinder | 1 | Airtech | 75 liter | √ | √ | √ | √ | √ | √ | √
23 | Liquid Nitrogen 20 liter Cylinder | 3 | Airtech | 60 Liter | √ | √ | √ | √ | √ | √ | √
24 | Portable Medical Air 24 ft3 cylinder | 2 | Airtech | 48 ft3 | √ | √ | √ | √ | √ | √ | √
25 | Portable Medical Air 48 ft3 cylinder | 4 | Airtech | 192 ft3 | √ | √ | √ | √ | √ | √ | √
26 | BHU Total Nos. | 338 | MEDAP | Complete Building |  |  | √ | √ | √ | √ | √
27 | Digital Control & Valve Box Total Nos. | 36 | MEDAP | Complete Building | √ | √ | √ | √ | √ | √ | √
28 | Distribution Pipe Works | 1 | MEDAP | Complete Building | √ | √ | √ | √ | √ | √ | √
29 | Liquid Oxygen Supply | 1 | MEDAP | Complete Building | √ | √ | √ | √ | √ | √ | √
30 | Master Alarm System | 1 | MEDAP | Complete Building | √ | √ | √ | √ | √ | √ | √
31 | Medical Gas Master Alarm Panel | 1 | MEDAP | Complete Building | √ | √ | √ | √ | √ | √ | √
32 | Medical Gas System | 1 | MEDAP | Complete Building | √ | √ | √ | √ | √ | √ | √
33 | Nitrous Oxide Supply System | 1 | MEDAP | Complete Building | √ | √ | √ | √ | √ | √ | √
34 | Service Columns total Nos. | 16 | MEDAP | Complete Building | √ | √ | √ | √ | √ | √ | √
35 | Service Pendants Nos. | 50 | MEDAP | Complete Building | √ | √ | √ | √ | √ | √ | √
36 | MEDICAL VACUUM Plant Compressors | 3 | BUSCH | RA0302D511QNXX |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
37 | MEDICAL VACUUM PLANT Filter | 2 | PARKER ZANDER | G13XPH |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
38 | MEDICAL VACUUM PLANT Tank | 1 | BUSCH |  |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
39 | COMPRESSED AIR PLANT (1) Pumps | 3 | POWEREX | OTP150 |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
40 | COMPRESSED AIR PLANT (2) Pumps | 1 | KOBELCO | 15 kW |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
41 | COMPRESSED AIR TANK | 2 | FENWAY | 22883 |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
42 | COMPRESSED AIR DRYER | 2 | PARKER ZANDER | (DMR040RX) |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
ELECTRICAL SYSTEMS
1 | Genset-1 Main Building | 3 | Cummins/C2000 D5 | 1854/415KVA/V |  | √ | √ | √ | √ | √ |  | yearly B servise by third party and operations by In house
2 | Genset-1 EC2-1 | 2 | MTU-745227/3 | 1200/415KW/V |  | √ | √ | √ | √ | √ |  | Every 2 years B servise by third Party and operations by In house
3 | Genset-1 EC2-2 | 2 | MTU-749207/1 | 2000/3300KW/V |  | √ | √ | √ | √ | √ |  | Every 2 years B servise by third Party and operations by In house
4 | Fuel Handling System Main Building | 1 | Local Made | 30300/3000X3Liters |  |  | √ | √ | √ | √
5 | Fuel Handling System EC2-1 | 1 | Local Made | 38000/4000X4Liters |  |  | √ | √ | √ | √
6 | Sync for Genset-1,2,3(415V) | 1 | DMC-1000 (FS) | 4500KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
7 | Sync for Genset-1,2(415V) | 1 | Deep Sea - DSE 7510 | 1000KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
8 | Sync for Genset-1,2(3.3KV) | 1 | Deep Sea - DSE 7510 | 1000KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
9 | LVP-1 | 1 | ABB | 1250KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
10 | LVP-2 | 1 | ABB | 1260KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
11 | LVP-3 | 1 | ABB | 1250KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
12 | LVP-4 | 1 | ABB | 1270KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
13 | LVP-5 | 1 | ABB | 1200KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
14 | LVP-6 | 1 | ABB | 1290KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
15 | LVP-7 | 1 | ABB | 1230KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
16 | LVSG-A | 1 | Merlin Gerin | 940KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
17 | LVSG-B | 1 | Merlin Gerin | 850KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
18 | Chiller Starter Panel | 1 | Siemens | 3930KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
19 | ATS-3 | 1 | ABB | 2500A |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
20 | ATS-4 | 1 | ABB | 2500A |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
21 | ATS-5 | 1 | ABB | 2500A |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
22 | ATS-6 | 1 | ABB | 2500A |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
23 | ATS-LVSG-A | 1 | Merlin Gerin | 2500A |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
24 | ATS-LVSG-B | 1 | Merlin Gerin | 2500A |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
25 | ATS-Chillers | 2 | ORMAZABAL-Germany | 1250A |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
26 | UPS-1 Main Building | 1 | GE/SG-CE-Series (Pure Pulse) | 250KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
27 | UPS-2 Main Building | 1 | GE/SG-CE-Series (Pure Pulse) | 250KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
28 | UPS-3 | 1 | BPC | 500KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
29 | UPS-4 | 1 | BPC | 500KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
30 | UPS-1 | 1 | Benning Louviers France | 40KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
31 | UPS-2 | 1 | Benning Louviers France | 40KW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
32 | PB-Elevator-N1 | 1 | ABB | 55.5KW | √ | √ | √ | √ | √ | √ | √
33 | SMDB-BKN | 1 | ABB | 108.7KW | √ | √ | √ | √ | √ | √ | √
34 | SMDB-1N1 | 1 | ABB | 192.55KW | √ | √ | √ | √ | √ | √ | √
35 | SMDB-1N3 | 1 | ABB | 116.45KW | √ | √ | √ | √ | √ | √ | √
36 | SMDB-1N5 | 1 | ABB | 24KW | √ | √ | √ | √ | √ | √ | √
37 | SMDB-2N3 | 1 | ABB | 128.95KW | √ | √ | √ | √ | √ | √ | √
38 | SMDB-3N3 | 1 | ABB | 44.68KW | √ | √ | √ | √ | √ | √ | √
39 | SMDB-GN1-A | 1 | ABB | 123.4KW | √ | √ | √ | √ | √ | √ | √
40 | SMDB-GN1-B | 1 | ABB | 143.42KW | √ | √ | √ | √ | √ | √ | √
41 | SMDB-GN3 | 1 | ABB | 124.75KW | √ | √ | √ | √ | √ | √ | √
42 | PB-BN2-B | 1 | ABB | 13.8KW | √ | √ | √ | √ | √ | √ | √
43 | PB-Elevator-N2 | 1 | ABB | 67KW | √ | √ | √ | √ | √ | √ | √
44 | SMDB-1N2-A | 1 | ABB | 132.05KW | √ | √ | √ | √ | √ | √ | √
45 | SMDB-1N2-B | 1 | ABB | 108.62KW | √ | √ | √ | √ | √ | √ | √
46 | SMDB-1N4 | 1 | ABB | 107.9KW | √ | √ | √ | √ | √ | √ | √
47 | SMDB-2N4 | 1 | ABB | 125.74KW | √ | √ | √ | √ | √ | √ | √
48 | SMDB-3N4 | 1 | ABB | 43.64KW | √ | √ | √ | √ | √ | √ | √
49 | SMDB-BN1-A | 1 | ABB | 124.23KW | √ | √ | √ | √ | √ | √ | √
50 | SMDB-BN2 | 1 | ABB | 138.04KW | √ | √ | √ | √ | √ | √ | √
51 | SMDB-GN2 | 1 | ABB | 226.89KW | √ | √ | √ | √ | √ | √ | √
52 | SMDB-GN4 | 1 | ABB | 97.09KW | √ | √ | √ | √ | √ | √ | √
53 | PB-Elevator-E1 | 1 | ABB | 48.5KW | √ | √ | √ | √ | √ | √ | √
54 | PB-DE-2 | 1 | ABB | 156KW | √ | √ | √ | √ | √ | √ | √
55 | SMDB-1E1 | 1 | ABB | 108.46KW | √ | √ | √ | √ | √ | √ | √
56 | SMDB-2E3 | 1 | ABB | 128.55KW | √ | √ | √ | √ | √ | √ | √
57 | SMDB-BE1 | 1 | ABB | 152.01KW | √ | √ | √ | √ | √ | √ | √
58 | SMDB-BKE | 1 | ABB | 130.52KW | √ | √ | √ | √ | √ | √ | √
59 | SMDB-BKEQ | 1 | ABB | 140.6KW | √ | √ | √ | √ | √ | √ | √
60 | SMDB-GE1-A | 1 | ABB | 169.16KW | √ | √ | √ | √ | √ | √ | √
61 | SMDB-GE1-B | 1 | ABB | 107.54KW | √ | √ | √ | √ | √ | √ | √
62 | SMDB-GE3 | 1 | ABB | 110.83KW | √ | √ | √ | √ | √ | √ | √
63 | PB-1E2-C | 1 | ABB | 104.55KW | √ | √ | √ | √ | √ | √ | √
64 | PB-2U2 | 1 | ABB | 74.4KW | √ | √ | √ | √ | √ | √ | √
65 | PB-BE2-A | 1 | ABB | 149.94KW | √ | √ | √ | √ | √ | √ | √
66 | PB-BE2-B | 1 | ABB | 61.4KW | √ | √ | √ | √ | √ | √ | √
67 | PB-DE1 | 1 | ABB | 279KW | √ | √ | √ | √ | √ | √ | √
68 | PB-IU2 | 1 | ABB | 87.6KW | √ | √ | √ | √ | √ | √ | √
69 | SMDB-1E2-A | 1 | ABB | 195.03KW | √ | √ | √ | √ | √ | √ | √
70 | SMDB-1E4 | 1 | ABB | 104.25KW | √ | √ | √ | √ | √ | √ | √
71 | SMDB-U1-A | 1 | ABB | 178.2KW | √ | √ | √ | √ | √ | √ | √
72 | SMDB-U1-C | 1 | ABB | 67.8KW | √ | √ | √ | √ | √ | √ | √
73 | SMDB-GE4 | 1 | ABB | 89.43KW | √ | √ | √ | √ | √ | √ | √
74 | SMDB-1E3 | 1 | ABB | 102.6KW | √ | √ | √ | √ | √ | √ | √
75 | SMDB-3E3 | 1 | ABB | 23.64KW | √ | √ | √ | √ | √ | √ | √
76 | SMDB-R | 1 | ABB | 12.44KW | √ | √ | √ | √ | √ | √ | √
77 | PB-ELEVATOR-E2 | 1 | ABB | 78.5KW | √ | √ | √ | √ | √ | √ | √
78 | SMDB-BE2 | 1 | ABB | 52.58KW | √ | √ | √ | √ | √ | √ | √
79 | SMDB-GE2 | 1 | ABB | 159.78KW | √ | √ | √ | √ | √ | √ | √
80 | PB-GU1 | 1 | ABB | 116.24KW | √ | √ | √ | √ | √ | √ | √
81 | PB-1U1 | 1 | ABB | 238.75KW | √ | √ | √ | √ | √ | √ | √
82 | SMDB-2E4 | 1 | ABB | 107.56KW | √ | √ | √ | √ | √ | √ | √
83 | SMDB-3E4 | 1 | ABB | 8.36KW | √ | √ | √ | √ | √ | √ | √
84 | PB-RE-4 | 1 | ABB | 21.7KW | √ | √ | √ | √ | √ | √ | √
85 | PB-ELEVATOR-E3 | 1 | ABB | 52KW | √ | √ | √ | √ | √ | √ | √
86 | SMDB-1U1-B | 1 | ABB | 52KW | √ | √ | √ | √ | √ | √ | √
87 | MCC-PN1 | 1 | ABB | 11.74KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
88 | MCC-PN3 | 1 | ABB | 71.8KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
89 | MCC-PN4 | 1 | ABB | 71.17KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
90 | MCC-BN2-E | 1 | ABB | 109.77KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
91 | MCC-PE5 | 1 | ABB | 84.3KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
92 | MCC-BE1-A | 1 | ABB | 184.18KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
93 | MCC-BE1-C | 1 | ABB | 116.94KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
94 | MCC-BE1 | 1 | ABB | 123.05KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
95 | MCC-BE1-B | 1 | ABB | 134.31KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
96 | MCC-PE1 | 1 | ABB | 243.32KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
97 | MCC-PE3 | 1 | ABB | 74.56KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
98 | MCC-ECB-1 | 1 | ABB | 150.96KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
99 | MCC-BE2 | 1 | ABB | 158.24KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
100 | MCC-PE2 | 1 | ABB | 184.76KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
101 | MCC-PE4 | 1 | ABB | 71.9KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
102 | MCC-1 | 1 | ABB | 265.88KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
103 | MCC-2 | 1 | ABB | 265.77KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
104 | MCC-3 | 1 | ABB | 267.38KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
105 | MCC-4 | 1 | ABB | 95.51KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
106 | MCC-5 | 1 | ABB | 279KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
107 | IPC-1U2-A | 1 | Post Groover-Life Link | 4.7KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
108 | IPC-1U2-B | 1 | Post Groover-Life Link | 9.4KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
109 | IPC-1U2-C | 1 | Post Groover-Life Link | 9.4KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
110 | IPC-1U2-D | 1 | Post Groover-Life Link | 9.4KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
111 | IPC-1U2-E | 1 | Post Groover-Life Link | 9.4KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
112 | IPC-1U2-F | 1 | Post Groover-Life Link | 4.7KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
113 | IPC-IU2-G | 1 | Brandon-Medipower | 8KVA |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
114 | IPC-1U2-H | 1 | Brandon-Medipower | 8KVA |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
115 | IPC-2U2-A | 1 | Post Groover-Life Link | 6.8KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
116 | IPC-2U2-B | 1 | Post Groover-Life Link | 6.8KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
117 | IPC-2U2-C | 1 | Post Groover-Life Link | 6.8KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
118 | IPC-2U2-D | 1 | Post Groover-Life Link | 6.8KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
119 | IPC-2U2-E | 1 | Post Groover-Life Link | 6.8KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
120 | IPC-3U2-F | 1 | Post Groover-Life Link | 1.6KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
121 | IPC-3U2-G | 1 | Post Groover-Life Link | 1.6KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
122 | IPC-3U2-H | 1 | Post Groover-Life Link | 1.6KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
123 | IPC-3U2-I | 1 | Post Groover-Life Link | 1.6KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
124 | IPC-GU1-A | 1 | Post Groover-Life Link | 16.4KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
125 | IPC-GU1-B | 1 | Post Groover-Life Link | 16.4KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
126 | IPC-GU1-C | 1 | Post Groover-Life Link | 5.6KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
127 | IPC-GU1-D | 1 | Post Groover-Life Link | 5KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
128 | IPC-GU1-E | 1 | Post Groover-Life Link | 10.6KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
129 | IPC-GU1-F | 1 | Post Groover-Life Link | 9.8KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
130 | IPC-GU1-G | 1 | Post Groover-Life Link | 5.4KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
131 | IPC-GU1-H | 1 | Post Groover-Life Link | 5.4KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
132 | IPC-1U1-A | 1 | Post Groover-Life Link | 8.6KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
133 | IPC-1U1-C | 1 | Post Groover-Life Link | 8.6KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
134 | IPC-1U1-E | 1 | Post Groover-Life Link | 10.1KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
135 | IPC-1U1-G | 1 | Post Groover-Life Link | 8.8KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
136 | IPC-1U1-I | 1 | Post Groover-Life Link | 8.2KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
137 | IPC-1U1-K | 1 | Post Groover-Life Link | 6.75KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
138 | IPC-1U1-L | 1 | Post Groover-Life Link | 8.3KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
139 | IPC-1U1-M | 1 | Post Groover-Life Link | 5.5KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
140 | IPC-1U1-N | 1 | Post Groover-Life Link | 19.2KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
141 | IPC-1U1-O | 1 | Post Groover-Life Link | 14.4KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
142 | IPC-1U1-P | 1 | Post Groover-Life Link | 13.6KW |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
143 | DB (Distribution Board) | 130 | ABB | 6 KW to 80 KW |  |  | √ | √ | √ | √ | √
144 | Dimming Panel DP-2 | 9 | Quantran | 6.8KW to 11.2 KW |  |  | √ | √ | √ | √ | √
145 | Soft Starter-1A | 1 | BENSHAW-CFMVRMX12-1360KW-3300-12 | 1360/3300KW/V |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
146 | Soft Starter-1B | 1 | BENSHAW-CFMVRMX12-1360KW-3300-12 | 1360/3300KW/V |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
147 | Soft Starter-1C | 1 | BENSHAW-CFMVRMX12-1360KW-3300-12 | 1360/3300KW/V |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
148 | Soft Starter-1D | 1 | BENSHAW-CFMVRMX12-1360KW-3300-12 | 1360/3300KW/V |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
149 | ACB -1 | 29 | ABB-SACE E3 | 2500A |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
150 | ACB -2 | 3 | Merlin Gerin-NW 32 H1 | 3200A |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
151 | ACB -3 | 8 | Merlin Gerin-NW 25 H1 | 2500A |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
152 | Light Fittings | 11000 | Osram | Complete Building |  |  | √ | √ | √ | √ | √
153 | Emergency Lighting Total Lights & SVAEL (EC-125) | 2511 | JSB-Cooper |  |  |  | √ | √ | √ | √ | √
154 | Emergency LightingSCM (Sub Circuit MonitorEC-140) | 1311 | JSB-Cooper |  |  |  | √ | √ | √ | √ | √
155 | Emergency LightingInverter Panels-1 | 2 | JSB-Cooper | 7.5KVA |  |  | √ | √ | √ | √ | √
156 | Emergency Lighting Inverter Panels-2 | 2 | JSB-Cooper | 11KVA |  |  | √ | √ | √ | √ | √
157 | Emergency Lighting Inverter Panels-3 | 4 | JSB-Cooper | 15KVA |  |  | √ | √ | √ | √ | √
158 | Emergency Lighting Batteries | 1 Lot | YUASA |  |  |  | √ | √ | √ | √ | √
159 | Emergency Lighting Easycheck Panels | 18 | JSB-Cooper | 18N/A |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
160 | Nurse Call Room Terminal | 289No. | Ackermann99-79921B1 |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
161 | Nurse Call Bed Module | 287No. | Ackermann99-74188A1 |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
162 | Nurse Call Display Module | 97No. | Ackermann99-74910C3 |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
163 | Nurse Call Information Display | 45No. | Ackermann99-0942M047 |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
164 | Nurse Cal lDisplay Light | 97No. | Ackermann99-72571D2 |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
165 | Nurse Call Room Light | 288No. | Ackermann99-72569D |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
166 | Nurse Call Nurse Station Console | 34No. | Ackermann99-74422A1 |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
167 | Nurse Call Duty Room | 34No. | Ackermann99-72583A1 |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
168 | Nurse Call - Call/Cancel w/o Display | 38No. | Ackermann99-88510L |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
169 | Nurse Call CCB Light | 33No. | Ackermann99-72571D2 |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
170 | Nurse Call Pull Cord | 378No. | Ackermann99-70045A3 |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
171 | Nurse Call Call/Cancel Button | 188No. | Ackermann99-88349K |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
172 | Nurse Call Power Supply | 1Lot | Ackermann99-SL-20-89954R3 |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
173 | Nurse Call Zone Controls | 12No. | Ackermann99-72260A |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
174 | Nurse Call Server | 1No. | Ackermann99-Clino99 |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
175 | Access Control Controllers | 33No. | Honeywell-WIN-PAK-PE |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
176 | Access Control Card Readers | 352No. | Honeywell-WIN-PAK-PE |  |  |  | √ | √ | √ | √ | √
177 | MATV Antenna Dish | 5No. | Locally Made |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
178 | MATV Output Combiners | 40No. | Kathrein |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
179 | MATV Output DB | 1 lot | Kathrein |  |  |  | √ | √ | √ | √ |  | Only operations PM contract by client
180 | Automatic Doors Door Operators | 61No. | IR-Germany |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
181 | Fire Alarm Smoke Detector Devices | 3222No. | Edwards (GE) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
182 | Fire Alarm Control & Monitoring Devices | 784No. | Edwards (GE) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
183 | Fire Alarm Loops | 34No. | Edwards (GE) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
184 | Fire Alarm Floor Panels | 5No. | Edwards (GE) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
185 | Fire Alarm Repeater Panels | 11No. | Edwards (GE) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
186 | Fire Alarm Smoke Control Panel | 1No. | Edwards (GE) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
187 | Fire Alarm Troubles | 6No. | Edwards (GE) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
188 | Fire Alarm Faults | 6No. | Edwards (GE) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
189 | Fire Alarm Disabled Devices | 39No. | Edwards (GE) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
190 | Fire Alarm Server | 1No. | Edwards (GE) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
191 | Master Clock Analog Clocks | 87No. | Edwards (Dukane) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
192 | Master Clock Digital Clocks | 13No. | Edwards (Dukane) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
193 | Master Clock Start/Stop Push Buttons | 13No. | Edwards (Dukane) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
194 | Master Clock | 1No. | Edwards (Dukane) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
195 | Master Clock Server | 1No. | Edwards (Dukane) |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
196 | BMS Digital Data Center | 136No. | Alerton-Honeywell |  |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
197 | BMS IO POINTS | 40000 | Alerton-Honeywell | [6 empty] | √ | √
198 | CCTV System | 700 | HANWAH Vision | Complete Building |  |  | √ |  |  |  |  | Only operations PM contract by client
199 | Central Battery System | 52 | Cooper Lighting JSB |  |  |  |  | √ |  |  |  | Third party for PM and operations by In house
200 | Digital Sound system | 3 | BIAMP | Complete Building |  |  | √ |  |  |  |  | Third party for PM and operations by In house
201 | Earthing & Lightning Protection System | 1 | FURSE | Complete Building | [5 empty] | √ |  | Third party for PM and operations by In house
202 | CCU Units | 4 | STULZ | Complete Building |  |  |  | √ |  |  | third party | Third party for PM and operations by In house
203 | Public Address System | 4 | ATEIS- SWITZERLAND | Complete Building |  |  | √ |  |  |  |  | Third party for PM and operations by In house
204 | SMATV System | 1 | KATHREIN, GERMANY | Complete Building |  |  | √ |  |  |  |  | Only operations PM contract by client
205 | Telephone Data System | 15 | 3M, BELDEN, SCHNEIDER | Complete Building |  |  |  | √ |  |  |  | Third party for PM and operations by In house
OTHER EQUIPMENT & SYSTEMS
ELEVATORS
1 | P-1-P-2 | 2 | SHANGHAI | 1600kgs |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
2 | P3-P5 | 3 | SHANGHAI | 2000kgs |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
3 | P6-P7 | 2 | SHANGHAI | 1600kgs |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
4 | P8 | 1 | SHANGHAI | 1800kgs |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
5 | P9-P10 | 2 | SHANGHAI | 1600kgs |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
6 | P11-P13 | 3 | SHANGHAI | 2000kgs |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
7 | P14-P15 | 2 | SHANGHAI | 1275kgs |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
8 | OTIS Elevators (Nursing Accommodation) | 3 | OTIS | 630KGS |  |  | √ | √ | √ | √ |  | Third party for PM and operations by In house
PNEUMATIC TUBE SYSTEMS
1 | PTS Blower Plant Compressor Total Nos. | 3 | Swisslog | 10 hp | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
2 | Recessed Station | 16 | Swisslog | 16 Stations | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
3 | Nexus Software | 1 | Swisslog | Complete Building | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
4 | PTS Blower Zone 1 & 2 | 2 | SWISSLOG |  | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
5 | PTS Ttransfer Unit 2 | 1 | SWISSLOG |  | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
6 | PTS Ttransfer Unit 3 | 1 | SWISSLOG |  | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
7 | PTS Ttransfer Unit 10 | 1 | SWISSLOG |  | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
8 | PTS Ttransfer Unit 10 Bypass | 1 | SWISSLOG |  | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
9 | PTS Ttransfer Unit 11 | 1 | SWISSLOG |  | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
10 | PTS Ttransfer Unit 13 | 1 | SWISSLOG |  | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
11 | PTS Ttransfer Unit 20 | 1 | SWISSLOG |  | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
12 | PTS Ttransfer Unit 21 Bypass | 1 | SWISSLOG |  | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
13 | PTS Ttransfer Unit 22 Bypass | 1 | SWISSLOG |  | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
14 | PTS Ttransfer Unit 23 | 1 | SWISSLOG |  | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
15 | PTS Control Panel | 1 | SWISSLOG |  | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
16 | PTS Carrier/Capsules-1 | 12 | SWISSLOG |  | √ | √ | √ | √ | √ | √ | √
17 | PTS Carrier/Capsules-2 | 12 | SWISSLOG |  | √ | √ | √ | √ | √ | √ | √
18 | PTS Carrier/Capsules-3 | 12 | SWISSLOG |  | √ | √ | √ | √ | √ | √ | √
19 | PTS Carrier/Capsules-4 | 12 | SWISSLOG |  | √ | √ | √ | √ | √ | √ | √
NEGATIVE/POSITIVE PRESSURIZED ROOMS
1 | Negative/Positive Pressurized Room | 12 |  |  | √ | √ | √ | √ | √ | √ | √ | yearly validation ahs to be provide by third party
2 | Negative/Positive Pressurized Room | 12 |  |  | √ | √ | √ | √ | √ | √ | √ | yearly validation ahs to be provide by third party
3 | Negative/Positive Pressurized Room | 12 |  |  | √ | √ | √ | √ | √ | √ | √ | yearly validation ahs to be provide by third party
BARRIERS & DOORS
1 | Gate Barrier | 3 | [5 empty] | √ |  |  |  | Third party for PM and operations by In house
2 | Shutter Doors | 4 | [5 empty] | √ |  |  |  | Third party for PM and operations by In house
3 | Hydraulic Dock | 4 | [5 empty] | √ |  |  |  | Third party for PM and operations by In house
4 | Fire Doors | 60 | [5 empty] | √ |  |  |  | Third party for PM and operations by In house
5 | Sliding Doors | 4 | [9 empty] | Third party for PM and operations by In house
FACILITY INSPECTION as Per Checklist
1 | WARD 1 - OBG | 30 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
2 | WARD 2- PAEDIATRIC WARD | 19 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
3 | WARD 3 | 29 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
4 | WARD 4 | 28 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
5 | WARD 5 | 24 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
6 | WARD 6 | 22 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
7 | VIP SUITES | 4 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
8 | ICU-A | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
9 | ICU-B | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
10 | DCU | 11 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
11 | OPERATION THEATER | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
12 | PHYSIOTHERAPHY DEPT | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
13 | EMERGENCY/PCC DEPT | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
14 | CATH LAB | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
15 | RADIOLOGY | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
16 | SHARJAH BREAST CANCER CENTER | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
17 | IVF CENTER | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
18 | HIMCHAN | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
19 | MANAGEMENT/ADMIN AREA | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
20 | IN-PATIENT PHARMACY | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
21 | OUT-PATIENT PHARMACY | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
22 | CSSD | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
23 | MAIN LABORATORY | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
24 | OUT PATIENT DEPARTMENT | 1 | Room Inspection Check List |  | Corrective /Reactive and upon the End User request and schedule /Availability
COLD ROOMS
1 | Main Laboratory-1 | 2 | COPELAND | 3HP | √ | √ | √ | √ | √ | √ | √
2 | Main Laboratory-1A | 1 | BITZER | 6.5 HP | √ | √ | √ | √ | √ | √ | √
3 | Kitchen Cold Rooms-1 | 4 | COPELAND | 4200W | √ | √ | √ | √ | √ | √ | √
4 | Kitchen Cold Rooms-1A | 2 | COPELAND | 7.5 kw | √ | √ | √ | √ | √ | √ | √
5 | Kitchen Cold Rooms-1B | 1 | COPELAND | 2 Hp | √ | √ | √ | √ | √ | √ | √
6 | Kitchen Cold Rooms-1C | 1 | COPELAND | 2 Hp | √ | √ | √ | √ | √ | √ | √
7 | Mortuary Cold Room-1 | 2 | COPELAND | 11700 BTU/Hr | √ | √ | √ | √ | √ | √ | √
8 | Mortuary Cold Room-1A | 1 | COPELAND | 9800 BTU/Hr | √ | √ | √ | √ | √ | √ | √
9 | Mortuary Cold Room -1C | 1 | COPELAND | 7000 Btu/hr | √ | √ | √ | √ | √ | √ | √
11 | General Waste Room | 1 | COPELAND | 10.6 Kw | √ | √ | √ | √ | √ | √ | √
12 | Medical Waste Room | 1 | COPELAND | 10.6 Kw | √ | √ | √ | √ | √ | √ | √
Civil /Carpentry Works and Repainting
1 | Repainting of faded or dirty existing Painting & Markings. ( Clinics , Corridoor, Offices, and patient rooms) | 1 Lot |  | Complete UHS Facility | Corrective /Reactive and upon the End User request and schedule
2 | Repainting of faded or dirty existing Painting & Markings. EPOXY Painting all services room | 1 Lot |  | Complete UHS Facility | Corrective /Reactive and upon the End User request and schedule
3 | Wood works repairs and fit out and dismantling carpentry Jobs. | 1 Lot |  | Complete UHS Facility | Corrective /Reactive and upon the End User request and schedule
4 | Dismantling & installation of all types of accessories ( Bio Medical , IT etc In facility ) | 1 Lot |  | Complete UHS Facility | Corrective /Reactive and upon the End User request and schedule
5 | Cleaning and/or changing of false ceilings | 1 Lot |  | Complete UHS Facility | Corrective /Reactive and upon the End User request and schedule
6 | Dismantling and relocation of furniture | 1 Lot |  | Complete UHS Facility | Corrective /Reactive and upon the End User request and schedule
7 | Cleaning of light fittings | 1 Lot |  | Complete UHS Facility | Corrective /Reactive and upon the End User request and schedule
8 | Cleaning of AC Diffusers | 1 Lot |  | Complete UHS Facility | Corrective /Reactive and upon the End User request and schedule
9 | Decorative Event Light Fixing and removal once a year | 1000 m |  | Complete UHS Facility | Corrective /Reactive and upon the End User request and schedule

## DR Accomdation Segrigated
Annexure 1 Dr accommendation
Sr. No | Equipment Description | Quantity | Specification, Make | Capacity | PPM | [5 empty] | PPM by
[5 empty] | Daily | Weekly | Monthly | Quaterly | Half yearly | Yearly | In House | Third Party(if third part Specifiy detailled scope)
AIR-CONDITIONING SYSTEMS
1 | Air Cooled water Chillers | 4 | York | 1129 kW | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
2 | Chilled water Primary Pumps | 4 | Grundfose | 216 m3/hr | √ | √ | √ | √ | √ | √ | √
3 | Secondary Chilled water Pumps | 4 | Grundfose | 216 m3/hr | √ | √ | √ | √ | √ | √ | √
7 | Fresh Air handling Unit 01 | 6 | York | 1.305 m3/sec | √ | √ | √ | √ | √ | √ | √
8 | Fresh Air handling Unit 02 | 6 | York | 0.95 m3/sec | √ | √ | √ | √ | √ | √ | √
9 | Fresh Air handling Unit 03 | 6 | York | 0.95 m3/sec | √ | √ | √ | √ | √ | √ | √
10 | Fresh Air handling Unit 04 | 6 | York | 1.415 m3/sec | √ | √ | √ | √ | √ | √ | √
11 | Fresh Air handling Unit 05 | 1 | York | 1.59 m3/sec | √ | √ | √ | √ | √ | √ | √
12 | Fresh Air handling Unit 06 | 1 | York | 0.6 m3/sec | √ | √ | √ | √ | √ | √ | √
13 | Air Handling Unit 01 | 1 | York | 3.44 m3/sec | √ | √ | √ | √ | √ | √ | √
14 | Air Handling Unit 02 | 1 | York | 1.23 m3/sec | √ | √ | √ | √ | √ | √ | √
15 | Air Handling Unit 03 | 1 | York | 1.1 m3/sec | √ | √ | √ | √ | √ | √ | √
16 | FCU- Type 1 | 93 | York | 125 L/sec |  |  |  | √ | √ | √ | √
17 | FCU- Type 2 | 330 | York | 170 l/sec |  |  |  | √ | √ | √ | √
18 | FCU- Type 3 | 6 | York | 220 l/sec |  |  |  | √ | √ | √ | √
19 | FCU Type-4 | 18 | York | 275 l/sec |  |  |  | √ | √ | √ | √
20 | FCU Type-5 | 5 | York | 430 l/sec |  |  |  | √ | √ | √ | √
21 | FCU - Type 11 | 114 | York | 145 l/sec |  |  |  | √ | √ | √ | √
22 | FCU Type13 | 59 | York | 270 l/sec |  |  |  | √ | √ | √ | √
23 | FCU Type 5 | 5 | York | 430 l/sec |  |  |  | √ | √ | √ | √
24 | FCU Type A | 84 | York | 235 l/sec |  |  |  | √ | √ | √ | √
25 | FCU Type B | 24 | York | 300 l/sec |  |  |  | √ | √ | √ | √
26 | FCU Type C | 78 | York | 340 l/sec |  |  |  | √ | √ | √ | √
27 | FCU Type D | 54 | York | 425 l/sec |  |  |  | √ | √ | √ | √
28 | FCU Type E | 30 | York | 555 l/sec |  |  |  | √ | √ | √ | √
29 | Expansion Tank | 4 | CIMM | 800 liter | √ | √ | √ | √ | √ | √ | √
30 | Digital Pressurization Unit | 1 | Flexfiller | 9 l/sec | √ | √ | √ | √ | √ | √ | √
31 | Chemical Dosing System | 1 | CNPA0704PPB000A01 | 3.9l/hr |  |  | √ | √ | √ | √ | √
32 | Make up Pump | 1 | Flexfiller | 9l/sec |  |  | √ | √ | √ | √ | √
33 | Split A/C Units | 18 | YORK/Wespoint/SAMCO | 30000BTU |  |  | √ | √ | √ | √ | √
PLUMBING (Water Supply & DRAINAGE SYSTEMS)
1 | WATER TRANSFER PUMP | 12 | GRUNDFOS | 10.8m3/hr | √ | √ | √ | √ | √ | √ | √
2 | WATER BOOSTER PUMP | 21 | GRUNDFOS | 3.6 m3/hr | √ | √ | √ | √ | √ | √ | √
3 | Water Heater | 391 | Ariston | 80 liter |  |  |  | √ | √ | √ | √
4 | GRP Tank Roof - 5,000 Gallons | 6 | GRP | 4500 Gallon |  |  |  |  | √ | √ |  | Semi annually has to clean water tank and Share reports by authorized vendor
5 | RCC - Concrete Tank 103291 Gallon | 1 | RCC Concrete | 103291 Gallon |  |  |  |  | √ | √ |  | Semi annually has to clean water tank and Share reports by authorized vendor
6 | RCC-Chilled water tank-3000 Gallon | 1 | RCC Concrete | 3000 Gallon |  |  |  |  | √ | √ |  | Semi annually has to clean water tank and Share reports by authorized vendor
7 | Rain water inlets | 108 | FROST | 4" |  |  |  |  | √ | √ | √
8 | Rain water Outlets | 108 | Cosmoplast | 4" |  |  |  |  | √ | √ | √
9 | Grease Trap | 60 | HEPWORTH | 450x280x450 |  |  | √ | √ | √ | √ | √ | Semi annuallay client will arrange Third party
Fire Fighting
1 | Dry Riser B | 81 | [5 empty] | √ | √ | √ |  | Third party for PM and operations by In house
2 | Hosel Reel cabinet | 90 | SAFEX | 30 m |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
3 | Breaching Inlet Cabinet | 30 Nos. | SAFEX |  |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
4 | Fire Balnket block B | 174 Nos. | SAFEX | 4x4ft |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
5 | Extinguisher DCP-6KG | 150 Nos. | SAFEX/Naffco | 6kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
6 | Extinguisher DCP-2KG | 174 Nos. | SAFEX/Naffco | 2 kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
7 | ADCP-6kg Block B | 82 Nos. | SAFEX Naffco | 6kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
8 | Extinguisher-CO2 -5Kg | 264 Nos. | SAFEX/Naffco | 5kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
Electrical SYSTEMS
1 | Capacitor Bank Block | 6 | ABB | 4000 kVAR |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
2 | LV Panel 1 | 1 | ABB | 1161 kW |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
3 | LV Panel 2 | 1 | ABB | 1160.51 kW |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
4 | LV Panel 3 | 1 | ABB | 1160.51 kW |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
5 | LV Panel 4 | 1 | ABB | 1120 kW |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
6 | LV Panel 5 | 1 | ABB | 1120 kW |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
7 | LV Panel 6 | 1 | ABB | 1160.51 kW |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
8 | LV Panel 7 | 1 | ABB | 989.31 kW |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
9 | SMDB G1 | 1 | ABB | 151.66 kW |  |  |  | √ | √ | √ | √
10 | SMDB G2/A | 1 | ABB | 107.95 kW |  |  |  | √ | √ | √ | √
11 | SMDB G3/A | 1 | ABB | 184.15 kW |  |  |  | √ | √ | √ | √
12 | SMDB G4/A | 1 | ABB | 133.35 kW |  |  |  | √ | √ | √ | √
13 | SMDB G2/B | 1 | ABB | 163 kW |  |  |  | √ | √ | √ | √
14 | SMDB G3/B | 1 | ABB | 128 kW |  |  |  | √ | √ | √ | √
15 | SMDB G4/B | 1 | ABB | 133 kW |  |  |  | √ | √ | √ | √
16 | SMDB G5/B | 1 | ABB | 158 kW |  |  |  | √ | √ | √ | √
17 | SMDB G2/C | 1 | ABB | 107.5kW |  |  |  | √ | √ | √ | √
18 | SMDB G3/C | 1 | ABB | 184.15kW |  |  |  | √ | √ | √ | √
19 | SMDB G4/C | 1 | ABB | 133.35kW |  |  |  | √ | √ | √ | √
20 | SMDB G1/C | 1 | ABB | 205kW |  |  |  | √ | √ | √ | √
21 | SMDB G3/D | 1 | ABB | 184.15kW |  |  |  | √ | √ | √ | √
22 | SMDB G4/D | 1 | ABB | 133.35kW |  |  |  | √ | √ | √ | √
23 | SMDB G5/D | 1 | ABB | 158.95kW |  |  |  | √ | √ | √ | √
24 | SMDB G2/E | 1 | ABB | 107.95 |  |  |  | √ | √ | √ | √
25 | SMDB G3/E | 1 | ABB | 184.15 |  |  |  | √ | √ | √ | √
26 | SMDB G4/E | 1 | ABB | 133.35 |  |  |  | √ | √ | √ | √
27 | SMDB G5/E | 1 | ABB | 158.95 |  |  |  | √ | √ | √ | √
28 | SMDB G1/F | 1 | ABB | 205.5 |  |  |  | √ | √ | √ | √
29 | SMDB G3/F | 1 | ABB | 184.15 |  |  |  | √ | √ | √ | √
30 | SMDB G4/F | 1 | ABB | 133.35 |  |  |  | √ | √ | √ | √
31 | Chiller Panel | 4 | ABB | 560 kW |  |  |  | √ | √ | √ | √
32 | SMDBG1/A | 1 | ABB | 151.66 kW |  |  |  | √ | √ | √ | √
33 | SMDBG5/A | 1 | ABB | 158.35KW |  |  |  | √ | √ | √ | √
34 | SMDBG1/C | 1 | ABB | 151.66 kW |  |  |  | √ | √ | √ | √
35 | SMDBG5/C | 1 | ABB | 158.95kW |  |  |  | √ | √ | √ | √
36 | SMDBG1/E | 1 | ABB | 151.66KW |  |  |  | √ | √ | √ | √
37 | SMDBG5/F | 1 | ABB | 158.95KW |  |  |  | √ | √ | √ | √
38 | SMDBCH-1 | 1 | ABB | 104.61KW |  |  |  | √ | √ | √ | √
39 | SMDBSY | 1 | ABB | 66.80 KW |  |  |  | √ | √ | √ | √
40 | SMDBSS | 1 | ABB | 6.80 KW |  |  |  | √ | √ | √ | √
41 | DBHV | 1 | ABB | 30 KW |  |  |  | √ | √ | √ | √
42 | MCC-SY-1 | 1 | ABB | 46 KW |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
43 | MCC-SY-2 | 1 | ABB | 135KW |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
44 | Distribution board | 9 | ABB | 13.55kW |  |  |  | √ | √ | √ | √
45 | Distribution board | 20 | ABB | 18kW |  |  |  | √ | √ | √ | √
46 | Distribution board | 4 | ABB | 17.95kW |  |  |  | √ | √ | √ | √
47 | SMDB-G2 | 1 | ABB | 107.95kW |  |  |  | √ | √ | √ | √
48 | Distribution board | 3 | ABB | 28.4kW |  |  |  | √ | √ | √ | √
49 | Distribution board | 3 | ABB | 29.5kW |  |  |  | √ | √ | √ | √
50 | SMDB-LL1 | 1 | ABB | 53.1kW |  |  |  | √ | √ | √ | √
51 | SMDB-LL1 | 1 | ABB | 80.8kW |  |  |  | √ | √ | √ | √
52 | SMDB-F1 | 1 | ABB | 57.9kW |  |  |  | √ | √ | √ | √
53 | Distribution board | 5 | ABB | 22.25kW |  |  |  | √ | √ | √ | √
54 | Distribution board | 7 | ABB | 22.2kW |  |  |  | √ | √ | √ | √
55 | SMDB-F4 | 1 | ABB | 66.7kW |  |  |  | √ | √ | √ | √
56 | SMDB-F5 | 1 | ABB | 77.4kW |  |  |  | √ | √ | √ | √
57 | SMDB-LL3 | 1 | ABB | 29.7kW |  |  |  | √ | √ | √ | √
58 | SMDB-LL2 | 2 | ABB | 55.3kW |  |  |  | √ | √ | √ | √
59 | Distribution board | 2 | ABB | 13.55kW |  |  |  | √ | √ | √ | √
60 | Distribution board | 6 | ABB | 24.75kW |  |  |  | √ | √ | √ | √
61 | Distribution board | 9 | ABB | 18kW |  |  |  | √ | √ | √ | √
62 | SMDB-F3 | 1 | ABB | 67kW |  |  |  | √ | √ | √ | √
63 | Distribution board | 6 | ABB | 25.05kW |  |  |  | √ | √ | √ | √
64 | Distribution board | 1 | ABB | 28.1kW |  |  |  | √ | √ | √ | √
65 | Distribution board | 3 | ABB | 5kW |  |  |  | √ | √ | √ | √
66 | Distribution board | 2 | ABB | 24.65kW |  |  |  | √ | √ | √ | √
67 | Distribution board | 1 | ABB | 28.1kW |  |  |  | √ | √ | √ | √
68 | SMDB-LL3 | 1 | ABB | 29.7kW |  |  |  | √ | √ | √ | √
69 | Distribution board | 2 | ABB | 7.7kW |  |  |  | √ | √ | √ | √
70 | Distribution board | 2 | ABB | 13.55kW |  |  |  | √ | √ | √ | √
71 | Distribution board | 1 | ABB | 29.75kW |  |  |  | √ | √ | √ | √
72 | Distribution board | 2 | ABB | 19.1kW |  |  |  | √ | √ | √ | √
73 | Distribution board | 2 | ABB | 11.1kW |  |  |  | √ | √ | √ | √
74 | Distribution board | 2 | ABB | 9.5kW |  |  |  | √ | √ | √ | √
75 | Distribution board | 1 | ABB | 10.7kW |  |  |  | √ | √ | √ | √
76 | Distribution board | 4 | ABB | 3kW |  |  |  | √ | √ | √ | √
77 | Distribution board | 2 | ABB | 6kW |  |  |  | √ | √ | √ | √
78 | Earthing & Lightning Protection System | 1 | FURSE |  |  |  |  | √ | √ | √ | √
79 | Fire Alarm & Voice Evacuation system | 6 | EST-GE |  |  |  |  | √ | √ | √ | √
80 | SMATV System | 174 Nos. | [5 empty] | √ | √ | √ | √
81 | Self contained emergency light | 100 Nos. | JSB Cooper | 5w |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
82 | Analogue Addressable Fire Alarm Panel FACP | 7 | EST-GE | Complete Facility |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
83 | Emergency Lighting | 1 lot |  | 1x8w |  |  |  | √ | √ | √ | √

## Nursing accomdation Segrigated
Annexure 1 Nursing Block B, C, D
Sr. No | Equipment Description | Quantity | Specification, Make | Capacity | PPM | [5 empty] | PPM by
[5 empty] | Daily | Weekly | Monthly | Quaterly | Half yearly | Yearly | In House | Third Party(if third part Specifiy detailled scope)
1 | Air Cooled water Chiller Block B | 2 | MCQUAY | 341 TR | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
2 | Air Cooled water Chiller Block C | 2 | MCQUAY | 341 TR | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
3 | Air Cooled water Chiller Block D | 2 | MCQUAY | 341 TR | √ | √ | √ | √ | √ | √ |  | Third party for PM and operations by In house
4 | Chilled water Pump Block B | 3 | WESTREN ELECTRONIC MOTOR | 9 l/sec | √ | √ | √ | √ | √ | √ | √
5 | Chilled water Pump Block B | 3 | WESTREN ELECTRONIC MOTOR | 9 l/sec | √ | √ | √ | √ | √ | √ | √
6 | Chilled water Pump Block B | 3 | WESTREN ELECTRONIC MOTOR | 9 l/sec | √ | √ | √ | √ | √ | √ | √
7 | Fresh Air handling Unit Block B | 1 | ASCON | 71.2 kW | √ | √ | √ | √ | √ | √ | √
8 | Fresh Air handling Unit Block B | 2 | ASCON | 79 kW | √ | √ | √ | √ | √ | √ | √
9 | Fresh Air handling Unit Block C | 1 | ASCON | 71.2 kW | √ | √ | √ | √ | √ | √ | √
10 | Fresh Air handling Unit Block C | 2 | ASCON | 79 kW | √ | √ | √ | √ | √ | √ | √
11 | Fresh Air handling Unit Block D | 1 | ASCON | 71.2 kW | √ | √ | √ | √ | √ | √ | √
12 | Fresh Air handling Unit Block D | 2 | ASCON | 79 kW | √ | √ | √ | √ | √ | √ | √
13 | Plate Mounted Axial Exhaust Fan Block B | 1 | Rosenberg | 0.25 m3/sec |  |  | √ | √ | √ | √ | √
14 | Plate Mounted Axial Exhaust Fan Block B | 1 | Rosenberg | 0.35 m3/sec |  |  | √ | √ | √ | √ | √
15 | Centrifugal Twin Exhaust Fan Block B | 5 | Rosenberg | 0.27 m3/sec |  |  | √ | √ | √ | √ | √
16 | Centrifugal Twin Exhaust Fan Block B | 4 | Rosenberg | 0.135 m3/sec |  |  | √ | √ | √ | √ | √
17 | Centrifugal Twin Exhaust Fan Block B | 1 | Rosenberg | 0.18 m3/sec |  |  | √ | √ | √ | √ | √
18 | Centrifugal Twin Exhaust Fan Block B | 1 | Rosenberg | 0.31 m3/sec |  |  | √ | √ | √ | √ | √
19 | Plate Mounted Axial Exhaust Fan Block C | 1 | Rosenberg | 0.25 m3/sec |  |  | √ | √ | √ | √ | √
20 | Plate Mounted Axial Exhaust Fan Block C | 1 | Rosenberg | 0.35 m3/sec |  |  | √ | √ | √ | √ | √
21 | Centrifugal Twin Exhaust Fan Block C | 5 | Rosenberg | 0.27 m3/sec |  |  | √ | √ | √ | √ | √
22 | Centrifugal Twin Exhaust Fan Block C | 4 | Rosenberg | 0.135 m3/sec |  |  | √ | √ | √ | √ | √
23 | Centrifugal Twin Exhaust Fan Block C | 1 | Rosenberg | 0.18 m3/sec |  |  | √ | √ | √ | √ | √
24 | Centrifugal Twin Exhaust Fan Block C | 1 | Rosenberg | 0.31 m3/sec |  |  | √ | √ | √ | √ | √
25 | Centrifugal Twin Exhaust Fan Block D | 5 | Rosenberg | 0.27 m3/sec |  |  | √ | √ | √ | √ | √
26 | Centrifugal Twin Exhaust Fan Block D | 4 | Rosenberg | 0.135 m3/sec |  |  | √ | √ | √ | √ | √
27 | Centrifugal Twin Exhaust Fan Block D | 1 | Rosenberg | 0.18 m3/sec |  |  | √ | √ | √ | √ | √
28 | Centrifugal Twin Exhaust Fan Block D | 1 | Rosenberg | 0.31 m3/sec |  |  | √ | √ | √ | √ | √
29 | Ceiling Fan 1 | 51 | Usha Swift | 55 W |  |  |  | √ | √ | √ | √
30 | Ceiling Fan 2 | 51 | Usha Swift | 50 W |  |  |  | √ | √ | √ | √
31 | Fan Coil Unit Type 1 Block B | 55 | York | 175 l/sec |  |  |  | √ | √ | √ | √
32 | Fan Coil Unit Type 2 Block B | 54 | York | 236 l/sec |  |  |  | √ | √ | √ | √
33 | Fan Coil Unit Type 1 Block C | 55 | York | 175 l/sec |  |  |  | √ | √ | √ | √
34 | Fan Coil Unit Type 2 Block C | 54 | York | 236 l/sec |  |  |  | √ | √ | √ | √
35 | Fan Coil Unit Type 1 Block D | 55 | York | 175 l/sec |  |  |  | √ | √ | √ | √
36 | Fan Coil Unit Type 2 Block D | 54 | York | 236 l/sec |  |  |  | √ | √ | √ | √
37 | Expansion Tank Block B | 1 | CIMM | 350 l | √ | √ | √ | √ | √ | √ | √
38 | Digital Pressurization Unit Block B | 1 | Flexcon | 9 l/sec | √ | √ | √ | √ | √ | √ | √
39 | Expansion Tank Block C | 1 | CIMM | 350 l | √ | √ | √ | √ | √ | √ | √
40 | Digital Pressurization Unit Block C | 1 | Flexcon | 9 l/sec | √ | √ | √ | √ | √ | √ | √
41 | Expansion Tank Block D | 1 | CIMM | 800 liter | √ | √ | √ | √ | √ | √ | √
42 | Digital Pressurization Unit Block D | 2 | Flexcon | 9 l/sec | √ | √ | √ | √ | √ | √ | √
43 | Chemical Dosing System Block B | 1 | CNPA0704PPB000A01 | 3.9l/hr |  |  | √ | √ | √ | √ | √
44 | Chemical Dosing System Block C | 1 | CNPA0704PPB000A01 | 3.9l/hr |  |  | √ | √ | √ | √ | √
45 | Chemical Dosing System Block D | 1 | CNPA0704PPB000A01 | 3.9l/hr |  |  | √ | √ | √ | √ | √
46 | Split A/C Units | 9 | YORK/Wespoint/SAMCO | 30000BTU |  |  | √ | √ | √ | √ | √
PLUMBING & DRAINAGE SYSTEMS
1 | WATER TRANSFER PUMP Block B | 2 | GRUNDFOS | 17m3/hr | √ | √ | √ | √ | √ | √ | √
2 | WATER BOOSTER PUMP Block B | 3 | GRUNDFOS | 8m3/hr | √ | √ | √ | √ | √ | √ | √
3 | WATER TRANSFER PUMP Block C | 2 | GRUNDFOS | 17m3/hr | √ | √ | √ | √ | √ | √ | √
4 | WATER BOOSTER PUMP Block C | 3 | GRUNDFOS | 8m3/hr | √ | √ | √ | √ | √ | √ | √
5 | WATER TRANSFER PUMP Block D | 2 | GRUNDFOS | 17m3/hr | √ | √ | √ | √ | √ | √ | √
6 | WATER BOOSTER PUMP Block D | 3 | GRUNDFOS | 8m3/hr | √ | √ | √ | √ | √ | √ | √
7 | GRP Tank Roof - 8,000 Gallons Block B | 1 | GRP | 8000 Gallon |  |  |  |  | √ | √ |  | Semi annually has to clean water tank and Share reports by authorized vendor
8 | GRP Tank Roof - 5,000 Gallons Block B | 1 | GRP | 5000 Gallon |  |  |  |  | √ | √ |  | Semi annually has to clean water tank and Share reports by authorized vendor
9 | GRP Tank Roof - 8,000 Gallons Block C | 1 | GRP | 8000 Gallon |  |  |  |  | √ | √ |  | Semi annually has to clean water tank and Share reports by authorized vendor
10 | GRP Tank Roof - 5,000 Gallons Block C | 1 | GRP | 5000 Gallon |  |  |  |  | √ | √ |  | Semi annually has to clean water tank and Share reports by authorized vendor
11 | GRP Tank Roof - 8,000 Gallons Block D | 1 | GRP | 8000 Gallon |  |  |  |  | √ | √ |  | Semi annually has to clean water tank and Share reports by authorized vendor
12 | GRP Tank Roof - 5,000 Gallons Block D | 1 | GRP | 5000 Gallon |  |  |  |  | √ | √ |  | Semi annually has to clean water tank and Share reports by authorized vendor
13 | Rain water Outlets | 32 | Cosmoplast | 4" |  |  |  |  | √ | √ | √
14 | Rain water inlets | 32 | FROST | 4" |  |  |  |  | √ | √ | √
Fire Fighting
1 | Hose Reel Riser Block B | 1 | [5 empty] | √ | √ | √ |  | Third party for PM and operations by In house
2 | Dry Riser Block B | 1 | [5 empty] | √ | √ | √ |  | Third party for PM and operations by In house
3 | Hosel Reel cabinet Block B | 13 | SAFEX | 30 m |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
4 | Breaching Inlet Cabinet Block B | 1 | SAFEX |  |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
5 | Fire Balnket block B | 51 | SAFEX | 4x4ft |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
6 | ADCP-6KG Block B | 23 | SAFEX | 6kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
7 | DCP-2kg Block B | 51 | SAFEX | 2kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
8 | DCP4.5KG Block B | 23 | SAFEX | 4.5 kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
9 | Extinguisher-CO2 -5Kg Block B | 23 | SAFEX | 5kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
10 | Landing Valve Block B | 23 | SAFEX | 1 |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
11 | Hose Reel Riser Block C | 1 | [5 empty] | √ | √ | √ |  | Third party for PM and operations by In house
12 | Dry Riser Block C | 1 | [5 empty] | √ | √ | √ |  | Third party for PM and operations by In house
13 | Hosel Reel cabinet Block C | 13 | SAFEX | 30 m |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
14 | Breaching Inlet Cabinet Block C | 1 | Reliable |  |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
15 | Fire Balnket Block C | 51 | SAFEX | 4x4ft |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
16 | ADCP-6KG Block C | 23 | SAFEX | 6kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
17 | DCP-2kg Block C | 51 | SAFEX | 2kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
18 | DCP4.5KG Block C | 23 | SAFEX | 4.5 kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
19 | Extinguisher-CO2 -5Kg Block C | 23 | SAFEX | 5kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
20 | Landing Valve Block C | 23 | SAFEX | 1 |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
21 | Hose Reel Riser Block D | 1 | [5 empty] | √ | √ | √ |  | Third party for PM and operations by In house
22 | Dry Riser Block D | 1 | [5 empty] | √ | √ | √ |  | Third party for PM and operations by In house
23 | Hosel Reel cabinet Block D | 13 | SAFEX | 30 m |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
24 | Breaching Inlet Cabinet Block D | 1 | Reliable |  |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
25 | Fire Balnket Block D | 51 | SAFEX | 4x4ft |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
26 | ADCP-6KG Block D | 23 | SAFEX | 6kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
27 | DCP-2kg Block D | 51 | SAFEX | 2kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
28 | DCP4.5KG Block D | 23 | SAFEX | 4.5 kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
29 | Extinguisher-CO2 -5Kg Block D | 23 | SAFEX | 5kg |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
30 | Landing Valve Block D | 23 | SAFEX | 1 |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
Electrical SYSTEMS
1 | Capacitor Bank Block B,C,D | 3 | ABB | 350 kVAR |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
2 | LV Panel Block B,C,D | 3 | ABB | 1242.55 kW |  |  |  | √ | √ | √ |  | Third party for PM and operations by In house
3 | SMDB -Com-1Block B, C,D | 3 | ABB | 33.3 kw |  |  |  | √ | √ | √ | √
4 | SMDB -Com-2Block B,C,D | 3 | ABB | 99.09 kw |  |  |  | √ | √ | √ | √
5 | SMDB-GF-1Block B,C,D | 3 | ABB | 94.4 kW |  |  |  | √ | √ | √ | √
6 | SMDB-GF-2Block B,C,D | 3 | ABB | 94.4 kW |  |  |  | √ | √ | √ | √
7 | SMDB-FF1-Block B,C,D | 3 | ABB | 94.4 kW |  |  |  | √ | √ | √ | √
8 | SMDB-FF2-Block B,C,D | 3 | ABB | 104.8 kW |  |  |  | √ | √ | √ | √
9 | SMDB-SF1-Block B,C,D | 3 | ABB | 94.4 kW |  |  |  | √ | √ | √ | √
10 | SMDB-SF2-Block B,C,D | 3 | ABB | 104.8 kw |  |  |  | √ | √ | √ | √
11 | Chiller-1 Isolator Block B,C,D | 3 | ABB | 154 kw |  |  |  | √ | √ | √ | √
12 | Chiller-2 Isolator Block B,C,D | 3 | ABB | 154 kw |  |  |  | √ | √ | √ | √
13 | DB-G01-G-16 Block B,C,D | 48 | ABB | 11.8 kw |  |  |  | √ | √ | √ | √
14 | DB-F01-F16 Block B,C,D | 48 | ABB | 11.8 kw |  |  |  | √ | √ | √ | √
15 | DB-F17Block B,C,D | 3 | ABB | 10.40kw |  |  |  | √ | √ | √ | √
16 | DB-S01-S16 Block B,C,D | 48 | ABB | 11.8 kw |  |  |  | √ | √ | √ | √
17 | DB-S17 Block B,C,D | 3 | ABB | 10.4 | [6 empty] | √
18 | DB-SSBlock B,C,D | 3 | ABB | 1.3kw |  |  |  | √ | √ | √ | √
19 | DB-SER Block B,C,D | 3 | ABB | 17kw |  |  |  | √ | √ | √ | √
20 | Isolator for Lift 2Block B,C,D | 3 | ABB | 15kw |  |  |  | √ | √ | √ | √
21 | DB -COM-1Block B,C,D | 3 | ABB | 34.15kw |  |  |  | √ | √ | √ | √
22 | MCC1 Block B, C,D | 3 | ABB | 11.267 kw |  |  |  | √ | √ | √ | √
23 | DB-COM2 Block B,C,D | 3 | ABB | 18.8 kw |  |  |  | √ | √ | √ | √
24 | DB-RF Block B,C,D | 3 | ABB | 13.44kw |  |  |  | √ | √ | √ | √
25 | Isolator for Lift 1Block B,C,D | 3 | ABB | 15 kw |  |  |  | √ | √ | √ | √
26 | MCC1 Block B, C,D | 3 | ABB | 16.5 kw |  |  |  | √ | √ | √ | √
27 | SMTV Block B, C, D | 153 | [7 empty] | √ | √
28 | Earthing & Lightning Protection System | 1 | FURSE | [6 empty] | √ | √
29 | Fire Alarm & Voice Evacuation system | 6 | EST-GE | [6 empty] | √ |  | Third party for PM and operations by In house
30 | Emergency Lighting Block B,C and D | 303 |  | 1x8w | [5 empty] | √ | √
31 | Emergency Exit Lights Block B,C, and D | 75 | JSB Cooper | 5w | [5 empty] | √ | √
32 | Analogue Addressable Fire Alarm Panel FACP | 3 | EST-GE | Complete Facility | [5 empty] | √ |  | Third party for PM and operations by In house