## DEVICES DETAIL-ALL
Sr No | Devices Cobination | Rooms & Areas | [15 empty] | Total Existing in System | Additional Required Devices | Total Devices Required
|  | Patient Room - 1B | Patient Room - 2B | Isolation Rooms | Patient Bays & Cubicles | OT & Endo Rooms | X-Ray Rooms | Clinics & Triage | Physio Bays | Resus Rooms | Procedure & Plaster Rooms | Medication Room | Public Toilets | Bath Tub & Shower | Clinic Toilet | Nurse Stations | Corridors Display
| Rooms Total | 149 | 16 | 12 | 108 | 9 | 4 | 125 | 58 | 3 | 15 | 22 | 94 | 8 | 2 | 34 | 43
1 | Room Terminal | 149 | 16 | 12 | 108 | 9 | 4 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 301 | 0 | 301
2 | Bed Module | 149 | 32 | 12 | 108 | 0 | 4 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 308 | 0 | 308
3 | Hand Set | 149 | 32 | 12 | 108 | 0 | 4 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 310 | 325 | 325
4 | EM Light - Room | 149 | 16 | 12 | 108 | 9 | 4 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 303 | 0 | 301
5 | Pull Cord - Wash Room | 286 | 32 | 24 | 0 | 0 | 2 | 0 | 0 | 0 | 5 | 0 | 94 | 8 | 2 | 0 | 0 | 388 | 99 | 453
6 | Cancel Switch - Wash Room | 149 | 16 | 12 | 0 | 0 | 2 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 169 | 15 | 184
7 | Call/Cancel Switch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94 | 8 | 0 | 0 | 0 | 0 | 102 | 102
8 | Display Module c/w Call/Cancel | 0 | 0 | 0 | 0 | 9 | 0 | 125 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 127 | 25 | 149
9 | EM Light - Clinic | 0 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 15 | 0 | 94 | 8 | 0 | 0 | 0 | 217 | 25 | 242
10 | Nurse Call Console | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 34 | 0 | 34 | 2 | 36
11 | EM Light - Nurse Station | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 2 | 0 | 0 | 34 | 0 | 34 | 24 | 58
12 | Corridor Display | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 51 | 12 | 63
13 | Physio Room Devices | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58 | 58
14 | Medication Room Display Modules | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 22
15 | Nurse Station Mobiles | [16 empty] | 0 | 25 | 25
Note- All Handsets in Patient Rooms will be replaced with IP based upgraded version.