## Sheet1
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| CLINICAL MIDDLE EAR ANALYZER ( DIAGNOSTIC) | 1 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No (If Yes Specify)
1 | Technical offer must be clear in terms of standards , which will be offered with the machine and Optional features and items . Please specify the details clearly and requested specs/info must be well supported with reference documents.
2 | specify Make/Model/Origin
3 | Device must be with latest technology and standard of care
4 | Machine must be available to do Several test like ;
5 | Tympanometry diagnostic screening ,Acoustic reflex threshold, Reflex decay, Eustachian tube function(Intact and Perforated).
6 | Wide band Tympanometry
7 | Machine must be having Protocols like ; Diagnostic, Screening ,Multi Component Tympanometry , Auto Sequence and User defined.
8 | Must be equipped with Color touch Screen , External monitor ,CPU , Printer and accessories also be provided to save the patient data.
9 | Admittance,suspectanace conductance Measurements ;
10 | Range : 226Hz ; 678Hz ; 1000Hz.
11 | Machine must be able to Pressure measurements .
12 | Machine must also be able to do reflex measurements.
13 | Environmental temperature
14 | Specify dimension of the unit
15 | weight of the unit
16 | Quality and Patient safety
16.1 | Unit must be FDA / CE certified
16.2 | Unit must comply ,IEC 60601-1 ; ANSI S3.39 ; ISO 60645, ISO13485 Quality management system for medical device or equivalent .
16.3 | Unit must comply with Electrical safety test IEC 60601-1,-2,-18 or equivalent
17 | Accessories
Supplied with all standard accessories.
18 | Consumables
18.1 | Supplied with all standard consumables.
19 | Available Additional Option
No. | OPTIONS DESCRIPTION
19.1
Important Notes & Obligatory Conditions
A. | Completing this compliance sheet is mandatory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Biomedical Engineering Staff (Service Training) and for and for lab technicians and Physicians (End User Training) is required.
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS
D. | Rated Voltage: 240V(+/- 5% ) 228-252 Volts single Phase OR 415 ( +/- 5% ) 395 - 435 Volts three Phase, 50 Hz .Three core cable and the casing must be earthed. Three pin electrical plug.
E. | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
F. | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
G. | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
H. | Warranty : Comprehensive minimum 3 Years warranty .