## Sheet1
No. | Description | Ref No: | Qty. | Instrument Description | Equivalent Ref. | Manufacturer | Country of Origin | UOM | Unit Price
| Ophthalmology | Reference | Qty
1 | Lacrimal cannula straight 25GA | 81071 -Storz Bausch + Lomb | 3
2 | Lacrimal cannula straight 23GA | E 4404 -Storz Bausch + Lomb | 3
3 | Paufique tying forceps. | E 63070 -Storz Bausch + Lomb | 2
4 | Neumann tying forceps | E1820S -Storz Bausch + Lomb | 2
5 | Shepard Tying forceps | E1855 -Storz Bausch + Lomb | 2
6 | HosFord lacrimal Dilator Double ended | E4346 -Storz Bausch + Lomb | 2
7 | Westcott type Stich scissor Sharp pointed tip | E3321- Storz Bausch + Lomb | 1
8 | Lieberman wire speculum | 14-040T Rumex | 3
| ENT | Reference | Qty
9 | Hartmann ear speculam 4mm outer diameter | 122004- Karl Storz | 6
10 | Hartmann ear speculam 5mm outer diameter | 122005- Karl Storz | 12
11 | Hartmann ear speculam 6mm outer diameter | 122006- Karl Storz | 6
12 | Tilley dressing forceps, shaft 7cm | 10-271-14-Spiggle & Theis | 3
13 | Scissors , tungsten carbide straight pointed 11.5cm | 10-532-12 Spiggle & Theis | 3
14 | ENT House suction cannula | 10-308-18-05 Spiggle & theis | 2 Pack
15 | ENT House suction cannula | 10-308-22-05 Spiggle & theis | 2 Pack
16 | ENT House suction cannula | 10-308-25-05 Spiggle & theis | 2 Pack
WARD INSTRUMENTS
| Suturing set-12 et | Reference | Qty
17 | 1) Dissecting Forceps | 12-120-14 KLS Martin | 12
18 | 2) Tissue Forceps | 12-321-14 KLS Martin | 12
19 | 3) Pean artery forceps curved | 13-411-14-07 KLS Martin | 12
20 | 4) Operating Scissor | 11-102-14-07 KLS Martin | 12
21 | 5) Needle Holder | 20-638-15-07 KLS Martin | 12
22 | 6) Gallipot | 56-231-08-01 KLS Martin | 12
22 | 7) Wire mesh tray 260x165x47MM | 55-808-21-01 KLS Martin | 12
24 | 8) Instruments tray | No Ref | 12
| Suture removal Set- 6set | Reference | Qty
25 | 1) Dissecting Forceps | 12-120-14-07. KLS Martin | 6
26 | 2) Pean forceps haemostatic curved | 13-375-14-07 KLS Martin | 6
27 | 3) Suture Removal Scissors | 11-830-14-07 KLS Martin | 6
28 | 4) Gallipot | 56-231-08-01 KLS Martin | 6
29 | 5) Wire mesh tray 260x165x47MM | 55-808-21-01 KLS Martin
30 | 6) Instrument tray. | No Ref | 6
| WARD/OPD INDIVIDUAL INSTRUMENTS | Reference | Qty
31 | Adson dissecting Forceps | 12-166-12 -KLS Martin | 8
32 | Lister bandage scissor Blue handle | BC971R- Aesculap | 5
33 | Dissecting Forceps | 12-120-14-07 KLS Martin | 10
34 | Tissue Forceps | 12-321-14-07 KLS Martin | 10
35 | Bantag scissor | 25-165-14-07 KLS Martin | 5
36 | Comedone extractor | No Ref | 2 .
37 | Tracheal Dilators Trousseau | 27-115-14-07 KLS Martin | 2
38 | Micro Stop Mini Set cntainer lid | KLS Martin | 10
39 | Micro Stop cntainer lid | 55-440-00-04 KLS Martn | 10
| OPERATING ROOM INSTRUMENTS | Reference | Qty
40 | Hopkins Telescope 5mm 30 degree, length 29cm Autoclavable Colour code Red | 26046 BA- Karl Storz | 1
41 | Telescope Bridge with 1 lockable instrument channel | 27025G- Karl Storz | 2
42 | Sponge Holding forceps | 14-352-25. KLS Martin | 15
43 | Pean Ronchester artery forceps curved | 13-411-16. KLS Martin | 6
44 | Pean Ronchester artery forceps curved | 13-411-18. KLS Martin | 6
45 | Pean Ronchester artery forceps curved | 13-411-20. KLS Martin | 10
46 | Pean Ronchester artery forceps Straight | 13-410-20. KLS Martin | 8
47 | Haemostatic Kocher forceps Curved | 13-415-20 KLS Martin | 6
48 | kern Bone holding clamp with ratchet, 163mm | 225-105- Integra | 2
49 | kern Bone holding clamp with ratchet, 245mm | 225-115- Integra | 2
50 | Lane Bone holding clamp with ratchet, 328mm | 225-121- Integra | 2
51 | Pean artery forceps curved | 13-411-14-07 KLS Martin | 10
52 | Pean forceps haemostatic curved | 13-375-14-07 KLS Martin | 10
53 | Micro Stop Mini Set cntainer lid | KLS Martin | 10
54 | Micro Stop cntainer lid | 55-440-00-04 KLS Martn | 10
55 | Silicon Mats 394x244 |  | 10
56 | Mouth gad Davis boyle frame for paediatrics | OM 118R | 2
57 | Panetti suction separator 45°, 2.5 mm, 13 cm, LuerLock suction hole in angle | 10-808-12, Spiggle & theis | 1
58 | Panetti suction curette angled, Luer-Lock 13cm | 10-816-12, Spiggle & theis | 1
59 | Panetti suction micro hook 45°, 2 mm, 13 cm, LuerLock | 10-807-12, Spiggle & theis | 1
60 | Panetti ear drum suction dissector single right curve, very fine, 13 cm Luer-Lock | 10-814-12, Spiggle & theis | 1
61 | Suction adapter luer-lock male, rotatable 55° curved | 10-851-00, Spiggle & theis | 1
62 | Kern bone Holding clamp with ratchet 163mm | 225-105, Integra | 2
63 | Kern bone Holding clamp with ratchet 245mm | 225-105, Integra | 2
64 | Lane bone Holding clamp with ratchet 328mm | 225-121, Integra | 2
65 | Knee Scorpion | Arthrex | 1
66 | OPD Request- Cicumcison set instruments |  | 2 Set
| CONTENTS: Instrument description | Ref. No: | Qty
| Adson tissue Forceps | 12-368-12. KLS Martin | 2
| Adson dissecting Forceps | 12-166-12 -KLS Martin | 2
| Dissecting scissors fine 5.5’’ | BC 259R Aesculap | 2
| Operating scissors | 11-102-14-KLS Martin | 2
| Baby mosquito forceps cvd | 13-307-10-KLS Martin | 4
| Baby mosquito forceps st | 13-306-10. KLS Martin | 4
| Mosquito forceps Str. | 13-310-12-KLS Martin | 8
| Mosquito artery forceps cvd. | 13-311-12-KLS Martin | 4
| Needle Holder | BMO 13R- Aesculap | 2
| Probe. button end. | 16-103-14-KLS Martin | 2
| Gallipot ( Small ) | 56-231-06-KLS Martin | 2
| Gallipot | 56-231-08-KLS Martin | 2
| Wire mesh tray 260x165x47MM | 55-808-21-01 KLS Martin | 2
For Urology OPD
67 | Catheter Stulet, Insertion Mandrel. | 27618- Karl Storz | 4