## Medication system
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
1 | Pharmacy Automated medication Dispensing Cabinets(ADCs) in nursing units | 18 | Comply | Supporting Documents Ref. | by Hospital
2 | Automated shelves storage Carousels for IP Pharmacy | 1
3 | Medication pre packaging solution as one or two machines includes: a. Tablet Prepackaging machine b. Syringes, vial, ampoule bag packing machine | 1
| Specifications |  | Yes/No
Technical offer must be clear in terms of standards , which will be offered with the Automated dispensing cabinets(ADC) and Carousel and optionals items should be mention clearly.Please specify the details clearly and all the requested specs information must be well supported with the reference documents.
1. Pharmacy Automated medication Dispensing Cabinets(ADCs) in nursing units
1 | ADC shall function as automated medication dispensing cabinet to streamline nursing workflow, improve inventory management, and secure safe access to patient medications.
2 | ADC should have comprehensive menu of standard and customizable reports in addition to user based dashboards to support improved inventory and diversion management
3 | ADC must have drawers with different levels of security to handle Narcotics ,controlled substances, high alert drugs and other normal drugs ADCs Drawers and pockets should accommodates Small /large IV’s, Vials, Ampoules and Syringes
4 | ADCs must have capability to dispense the most accurate dose as single dose if required for high security compartments that is handling Narcotics ,controlled substances and high alert drugs
5 | High durable locking lids keep medications secure. All drawers include guiding indicators .Securely stores a variety of drugs (such as Tablets ,IV fluids,ampoules and syringes )
6 | ADCs Lid Drawers should be easy configuarble, flexible as per end user requirement to meet the profile assigned to ADC based on nursing units
7 | All ADCs system must be scalable to expand(custom configured auxiliary cabinets) and Flexible with end-user needs
8 | ADC unit must have drug returns cabinet-returning drugs to the cabinet stock or return bin will be set up during the medication definition stage
9 | ADC Units must have lablel printers to generate medications lables as needed.
10 | ADC Units must have barcode scanners -a barcode technology to automate the restocking process and to track dispensing of medications.
11 | ADC Main Unit requires the extension possibility of the Main Unit with Auxiliary Units and should have integrated excess to Fridges through Electronic Look Module
12 | ADCs must have Open door/drawer alarm
13 | ADC should be integareted with HIS to select and maintain optimal Inventory at the nursing units
14 | ADCs should be interfaced with other external databases and HIS, such as the facility’s admission, discharge, transfer systems, nursing patient distribution and billing systems as a result, the efficiency of drug dispensing and billing is enhanced.
15 | Bidirectional HL7 Interfacing that includes and not limited to - Patient Demographic - Patient Admission ( Admission + Transfer + Discharge) - Medication Orders - Tapering Doses - Medication Dispensing - Medication Return - Stock Transfer - Stock Request
16 | Numerous Secure Storage Configurations
17 | Full tracking of inventory management
18 | Unit must be antimicrobial Protection
2. Automated shelves storage Carousels for IP Pharmacy
1 | Centralized medication distribution systems (Autocarousel)that provide computer controlled storage, dispensing, and tracking of medications through hospital track care system
2 | Carousel must have barcode scanners -a barcode technology to automate the restocking process and to track dispensing of medications.
3 | Carousel Unit must have lablel printers to generate medications lables as needed and confgured by end-user.
4 | Carousel should be managed by its software license to manage the invetrory
5 | Carousel should be integareted with HIS to select and Maintain optimal Inventory within IP Pharmacy areas
6 | HL7 Interfacing
7 | Full tracking of inventory management
8 | Unit must be antimicrobial Protection
3. Medication pre packaging solution as one or two machines
1 | Provides a comprehensive pre packaging solution equiped with barcoding (includes Capsules, Tablets ,Syringes, vials and ampoules).
2 | Prepackaging solution(s) must be equiped with printers to generate prepacked solid medications with barcodes as configured by enduser.
3 | Prepackaging solution(s) should have user-friendly software platform to support database required for all prepacked drugs
4 | Unit must be antimicrobial Protection
General specification
1 | Specify specification of lastest microsoft Windows operating system is supported for 10 years with Automated Dispensing System
2 | Specify Dimensions and weight of the units
3 | All unit should be provided with all necessary accessories and consumables.
4 | Specify Power requirements for ADCs and Autocarousel
5 | Must have universal power adapter 220-240v ,50/60HZ
Quality and Patient safety
1 | All units must be FDA / CE marked .
2 | All units must comply ISO 13485 Quality management system for medical device or equivalent .
3 | System must comply with ISO ; IEC Medical equipment Electrical Safety IEC 60601-1
4 | Accessories
Supplied with all standard accessories.
5 | Consumables
Supplied with all standard consumables.
6 | Avialable Additional Option
No. | OPTIONS DESCRIPTION
Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Biomedical Engineeing Staff (Service Training) and End user training for nursing staff and later as needed .
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS
D | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
E | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
F | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
G | Warrenty : Comprehensive minimum 3 Years warranty .