## 1
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| ULTRASOUND MACHINE (EMERGENCY DEPARTMENT) | 1 | Comply | Supporting Documents Ref. | by Hospital
1 | Specifications |  | Yes/No
1.1 | Exam Types: Abdominal, obstetrical, gynecological, small organs, vascular, paediatrics, cardiology, cephalic, musculoskeletal, nerve, urology, thoracic
1.2 | Operating Modes: B-mode, M-mode, PW mode, Color flow doppler, Power doppler mode, Tissue doppler mode
1.3 | Probes: • Convex probe • Phased array Probe • Linear probe
1.4 | Peripheral Options: • Black & White printer • Color printer
1.5 | Gel Warmer (Optional)
1.6 | Screen Display: Patient name, patient ID, Hospital name, GA or LMP, Birth date, date and time, probe name, application name, mode, gray scale bar, depth scale, focal zone marker, frame rate
1.7 | Connectivity: DICOM connection
1.8 | Data Storage: DICOM File, JPEG file etc.
1.9 | Measurements: Generic measurements, Abdomen calculations, small part calculations, obstetrics calculations, obstetrics fetal echo, cardiology calculations, vascular calculations, gynecology calculations, pediatric calculations, cephalic calculations, OB tables, fetal weight estimation, fetal ratios
2 | Accessories
Supplied with all standard accessories.
3 | Consumables
3.1 | Supplied with all standard consumables.
4 | Available Additional Option
No. | OPTIONS DESCRIPTION |  |  |  | REQUIRED OR NOT REQUIRED
Important Notes & Obligatory Conditions
1 | Completing this compliance sheet is mandatory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void
2 | Complete on-site (off-site, if necessary) training for Biomedical Engineering Staff (Service Training) and for OT Anesthesia technicians and Anesthesia doctors (End User Training) is required.
3 | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS ,FDA Approval ,CE Mark
4 | Rated Voltage: 240V(+/- 5% ) 228-252 Volts single Phase OR 415 ( +/- 5% ) 395 - 435 Volts three Phase, 50 Hz .Three core cable and the casing must be earthed. Three pin electrical plug.
5 | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
6 | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
7 | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
8 | Warranty must be at laest 3 years comprehensive from date of installation and equipment acceptance.