## Sheet1
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| Fully automated hematology system | 1 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No (If Yes Specify)
1 | Technical offer must be clear in terms of standards , which will be offered with the fully automated hematology track system with hematology analyser,automated smearing , Auto stainer & Digital microscopy with artificial intelligence software and optional items should be mention clearly.Please specify the details clearly and all the requested specs information must be well supported with reference documents.
2 | Fully automated hematology workflow system should include
2.1 | High end automated hematology analyser | 2
2.2 | Min throughput of 150-200 samples/hr
2.3 | Analytes : Full blood count & Differential WBC , bodyfluid & Reticulocyte count with advanced diagnostic CBC parameters
2.4 | Extended linearity range for all measurable parameters
2.5 | Calibration frequency
3 | Automated Smearing system integrated with main hematology analyser | 1
3.1 | High quality smear preparation
3.2 | Required consumables
4 | Automated stainer integrated with main hematology analyser | 1
4.1 | Required stains & consumables
5 | Automated digital cell morphology | 1
6 | Advanced Inbuilt software or additional middleware
6.1 | To support autoverification & other essential decision making rules
7 | Unit must have LIS integration option
8 | Unit must be antimicrobial Protection
9 | Specify Dimensions and weight of the units
10 | Unit should be provided with all necessary accessories and consumables.
11 | Must have universal power adapter 220-240v ,50/60HZ
11.1 | Specify the power consumption for the offred units and heat dissipation(BTU/hr)
12 | Quality requirements
12.1 | FDA/CE mark approval
12.2 | Number of customers used in CAP accredited labs in UAE / ME Region
12.3 | CAP external quality control program enrollment
12.4 | Availablity for demo
13 | Sample Consumption
Number of samples performed - CBC (200 - 250 /day) , 20 bloodflim per day
14 | Accessories
Supplied with all standard accessories.
15 | Consumables
Supplied with all standard consumables.
16 | Available Additional Option
No. | OPTIONS DESCRIPTION
Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Biomedical Engineeing Staff (Service Training) and End user training for lab staff and later as needed .
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS,CAP
D. | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
E. | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
F. | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
G. | Warrenty : Comprehensive minimum 5 Years warranty on reagent basis or as long as procuring consumables from the same company