## IFT
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| Fully Automated Immunofluroscence analyser | 1 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No (If Yes Specify)
1 | Technical offer must be clear in terms of standards , which will be offered with the fully automated Immunofluroscence analyzer. The analyzer should measure immunological and immunometric assays for detecting and measuring autoantibodies . In addition, no manual operation required , simplify laboratory workflow, reduce TAT and support loading primary tubes with barcode and transmit results automatically. Please specify the details clearly and all the requested specs information must be well supported with reference documents.
2 | Fully automated Immunofluroscence analyser should include:
2.1 | High end automated analyser in benchtop platform
2.2 | Combination of different type of autoimmune and infection parameters in one run
2.3 | Analytes : ANAs,DsDNA,ANCA
2.4 | BIOCHIP technology
2.5 | Hep-2 Slide (ANAs), Hep-20 Slide (ANAs)
2.6 | EOH-fixed granulocyte
2.7 | PR3 and MPO
2.5 | Titer technology
2.7 | Interpretation (Positive, Negative)
2.8 | Fluorescent pattern
3 | Instrument operation
3.1 | Reagents ready-to-use,Quality control and reagent supply should be smooth with long expiry
3.2 | Minimal reagents requirement ,with no manual reagent preparation steps,
3.3 | On board integrated barcode
3.4 | Data Matrix codes on all slides
3.5 | Automatic barcode identification of samples
3.6 | User friendly ,Easy loading and unloading of samples
3.7 | Easy maintenance and trouble shooting
4 | Unit msut have LIS integration option
5 | Unit must be antimicrobial protection
6 | Specify dimension & weight of the unit
7 | Unit should be provided with all necessary accessories and consumables
8 | Unit must have universal power adapter 220-240v, 50/50HZ
9 | Specify the power consumption for the offered units and heat dissipation(BTU/hr)
10 | Availablity for demo unit for demonstration
11 | Quality requirements
11.1 | Unit must be FDA/CE certified
11.2 | Number of customers used in CAP accredited labs in UAE / ME Region
11.3 | CAP external quality control program enrollment
11.4 | Unit must comply ISO 13485 quality management system for medical device or equivalent
12 | Sample Consumption
<100 samples per month
13 | Accessories
Supplied with all standard accessories.
14 | Consumables
Supplied with all standard consumables.
15 | Available Additional Option
OPTIONS DESCRIPTION
16 | Important Notes & Obligatory Conditions
A | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B | Complete on-site (off-site, if necessary) training for Biomedical Engineeing Staff (Service Training) and End user training for lab staff and later as needed .
C | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS,CAP
D | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
E | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
F | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
G | Warrenty : Comprehensive minimum 5 Years warrenty .

## IMMUNOBLOT
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| Automated Immunoblot device | 1 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No (If Yes Specify)
1 | Technical offer must be clear in terms of instrument , which will be offered with the automated Immunoblotting device. Please specify the details clearly and all the requested specs information must be well supported with reference documents.
2 | Automated Immunoblot device should include:
2.1 | Fully automated processing
2.2 | Benchtop platform
2.4 | Automatic barcode identification of samples
2.5 | Combination of different type of autoimmune and infection parameters in one run
2.6 | Patient sample capacity
2.7 | Testing capacity?
2.5 | Enrolled in CAP?
2.7 | Result type
2.8 | Test method?
2.9 | ANA profile? (Provide list of parameters in each profile)
3 | Instrument Operation
3.1 | Reagents ready-to-use
3.2 | Data Matrix codes on all strip.
3.3 | On board integrated barcode
3.4 | Easy maintenance and trouble shooting
4 | LIS Connectivity ?
5 | Unit must be antimicrobial protection
6 | Specify dimension & weight of the unit
7 | Unit should be provided with all necessary accessories and consumables
8 | Unit must have universal power adapter 220-240v, 50/50HZ
9 | Specify the power consumption for the offered units and heat dissipation(BTU/hr)
10 | Availablity for demo unit for demonstration
11 | Quality requirements
11.1 | Unit must be FDA/CE certified
11.2 | Number of customers used in CAP accredited labs in UAE / ME Region
11.3 | CAP external quality control program enrollment
11.4 | Unit must comply ISO 13485 quality management system for medical device or equivalent
12 | Sample Consumption
<100 samples per month
13 | Accessories
Supplied with all standard accessories.
14 | Consumables
Supplied with all standard consumables.
15 | Available Additional Option
OPTIONS DESCRIPTION
16 | Important Notes & Obligatory Conditions
A | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B | Complete on-site (off-site, if necessary) training for Biomedical Engineeing Staff (Service Training) and End user training for lab staff and later as needed .
C | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS,CAP
D | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
E | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
F | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
G | Warrenty : Comprehensive minimum 5 Years warrenty .