## Sheet1
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| Fully automated Urine Analyzer system | 1 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No (If Yes Specify)
1 | Technical offer must be clear in terms of standards , which will be offered with the fully automated urine analysis system with chemistry and sediment microscropy consists of inbuilt Centrifuge & Digital microscopy with artificial intelligence software and optional items should be mention clearly.Please specify the details clearly and all the requested specs information must be well supported with reference documents.
2 | Fully automated workflow system should include
2.1 | 18 automatically detected particle types: Red Blood Cells (RBC); White Blood Cells (WBC); WBC Clumps (WBCc); Hyaline Casts (HYA); Pathological Casts (PAT); Squamous Epithelial Cells (EPI); Non-Squamous Epithelial Cells (NEC); Cocci Bacteria (BACc); Rods Bacteria (BACr); Yeast (YEA); Crystals (CRY): Calcium-oxalate monohydrate (CaOxm), Calcium-oxalate dihydrate (CaOxd), Uric acid (URI), Triple phosphate (TRI); Mucus (MUC); Amorphous crystal debris (AMO); Sperm (SPRM). With additional new parameters - RBC ghost flag and RBC-Aca (acanthocyte) flag: provide information about the possible clinical relevant concentration Further classes for manual sub-classifications are also available. zoomable images.
2.2 | Min throughput of 100 samples/hr
2.3 | Minimal reagents requirement , easy maintenance, readily available cutomer support and trouble shoot
2.4 | Calibration frequency
2.5 | Automatic flagging for review when there is chemistry and sediment discrepancy and stopping transmission of such reults to LIS unless reviewed
2.6 | Reagent stability
2.7 | Quality control reagent supply should be smooth and Lot to Lot variations to be minimal
3 | Automated digital Microscope/cell morphology
4 | Advanced Inbuilt software or additional middleware
5 | Unit must have LIS integration option
6 | Unit must be antimicrobial Protection
7 | Specify Dimensions and weight of the units
8 | Unit should be provided with all necessary accessories and consumables.
9 | Must have universal power adapter 220-240v ,50/60HZ
10 | Specify the power consumption for the offred units and heat dissipation(BTU/hr)
11 | Unit must be available on demo basis
12 | Quality requirements
12.1 | FDA/CE mark approval
12.2 | Number of customers used in CAP accredited labs in UAE / ME Region
12.3 | CAP external quality control program enrollment
13 | Sample Consumption
Number of samples performed - urine analysis 40-50 /day , 10-15 samples mannually reviewed per day
14 | Accessories
Supplied with all standard accessories.
15 | Consumables
Supplied with all standard consumables.
16 | Available Additional Option
No. | OPTIONS DESCRIPTION
17 | Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Biomedical Engineeing Staff (Service Training) and End user training for lab staff and later as needed .
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS,CAP
D. | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
E. | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
F. | Warrenty : Comprehensive minimum 5 Years warranty on reagent basis or as long as procuring consumables from the same company.