## Specification
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| Total Lab Automation for Biochemistry & Immunoassay | 1 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No (If Yes Specify)
1 | Technical offer must be clear in terms of standards , which will be offered with the total laboratory automation for clinical chemistry and immunoassay and optional items should be mentioned clearly.Please specify the details clearly and all the requested specs information must be well supported with reference documents.
2 | Total automaion for clinical chemistry and imunoassay analysers should include:
2.1 | Pre-analytical , analytical and post-analytical system with most updated software version released by the manufacturer
2.2 | To provide latest technology (most updated version)
2.3 | Each system should be fully integrated and can be accessed directly.
2.4 | TLA should be scalable , cutomizable, adaptable with easy connectivity to add future needs of testing with possiblity of adding new modules without major system change
3 | Pre-Analytic Specs
3.1 | Sample Loader (Automated sample loading with direct access of the analsyer) | 1
3.2 | Optional bulk loader | 1
3.3 | Sample sorter ( should have 2 different areas for rejected sample and pending samples) | 1
3.4 | Decapper | 1
3.5 | Aliquoter | 1
3.6 | Centrifuge( Min 2 units) 80-100 samples / spin capacity, | 2
3.7 | Centrifugation possiblity of paediatric sample tubes
4 | Sample intergrity check at pre analytical stage | 1
4.1 | i) clot detection
4.2 | ii) Liquid-level sensing
4.3 | iii) bubble detection,
4.4 | iv) short-sample detection,
4.5 | v)hemolysis,
4.6 | vi)icterus,
4.7 | vii) lipemia checks
4.8 | Pre-Analytic throughput should match the analytical specs throughput ( without bottleneck of samples waiting in the bay for processing)
5 | Additional barcode label printer | 1
6 | i) If TLA requires any changes in the barcode label printer which is different from current LIS system , barcode printers should be provided by vendor covering all UHS Hospital sites.
7 | Physical & digital chain of custody with full traceablity for patient sample & data
8 | Required sample type for processing :Serum, plasma, fluid, urine, whole blood
9 | Analytic Specs
10 | Clinical chemsitry up to 2000 tests/hour: 1200 tests/hour photometric, 600 tests/hour ISE/IMT | 2
11 | Immunoassay Up to 500 tests per hour | 2
12 | Wider test menu to match current testing menu (Please fillup the attached excel sheet)
13 | Onboard QC/Calibration storage ,refrigerated with extended stability
14 | Reagent storage with onboard refrigerator
15 | > 150 chemistry reagent positions, with a minimum onboard stability of >30days
16 | >50 Immunoassay reagent positions with refrigeration in a single refrigerated tray at 4–8°C and humidity control. with a minimum onboard stability of >30days
17 | Mandatory test calibration intervals shouldn't be <28 days
18 | Auto dilution capability
19 | Minimum Carryover
20 | Vendor should have store house within UAE and be able to provide same lot number reagent for atleast 6monts with long expiry, for controls atleast one year or more same lot
21 | Vendor should be able to supply reagent and consumables in case of emergency needs
22 | Quality Control requirements
22.1 | Software for global peer QC review
22.2 | Automatic quality control and calibration schedule
22.3 | Minimum of two levels of quality conrol
22.4 | Cumulative Levey Jennings chart for all parameters together
22.5 | LJ charts with comments/exclusion options
22.6 | Calibrators / qcs downloaded automatically
22.7 | QC statistics with sigma score, CV% , Uncertainty, LJ chart
22.8 | Lot to lot validation capturing
23 | Maintenance requirements
23.1 | Automated maintenance with minimum hands'on time for enduser for Daily/Weekly/Monthly/Quarterly maintenance
24 | Post Analytical
24.1 | Should include recapper /Sealer | 1
24.2 | Ref.Storage capacity >10000 samples with auto disposal of specimen after retention | 1
24.3 | Auotmated sample retreivel for addon testing orders based on stability (using middleware rules)
24.4 | Capablity of adding storage of different sample types (samples which was not tested in TLA)
24.5 | Availablity of sufficient technical support /Engineer onsite to support breakdown within 1 hr
25 | Middleware/Software
25.1 | Should be compatible with LIS (Intersystem TCLE )
25.2 | Moving avearge and other key statistical data
25.3 | Calculated parameter definition
25.4 | TAT report /KPI reports
25.5 | Auto verification capablities with advanced keys
25.6 | Minimum number of user access should not be less than 50
25.7 | No hidden subscription/uprgrade fees during the contract period
25.8 | Autoverification capablitiy
25.9 | Abiltiy to create customizable report
25.1 | Proactive assement of analyser status /breakdown
26 | Consultancy & Planning
26.1 | Capablity of consultation should include:
26.2 | i) Analysis Phase( Project planning ,site visit & data collection with current & future state analysis)
26.3 | ii) Design Phase: Expert consultation to provide optimal solutions by planning and illustration with 2D,3D drawings & video and enhanced simulation modelling to advise on efficient & appropriate system to fit UHS current & future needs
26.4 | iii) Implementation Phase: Build the solution and support it after implementation in a efficient way
26.5 | iv) Confirmation Phase: - Project planning team should present the complete TLA solution customised for UHS for final validation
27 | Implementation associated requirements
27.1 | Should facilitate and accomodate UHS staff to visit exisiting TLA installations
27.2 | All renovation & construction associated work related to the implementation of TLA should be covered BY VENDOR
28 | Quality requirements
28.1 | Validation of analyser should be throughly supported by vendor along with providing supporting documents
28.2 | FDA/CE mark approval
28.3 | Number of customers used in CAP accredited labs in UAE / ME Region
28.4 | Mandatory CAP external quality control program enrollment for all parameters
28.5 | Availablity for demo (minimum requirement for demo is to provide chemistry & immunoassay analyser)
29 | Sample Consumption
1200-1500 tests per day
30 | Accessories
Supplied with all standard accessories.
31 | Consumables
Supplied with all standard consumables.
No. | Available Additional Option
OPTIONS DESCRIPTION
32 | Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Biomedical Engineeing Staff (Service Training) and End user training for lab staff and later as needed .
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS,CAP
D | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
E | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
F | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
G | Warrenty : Comprehensive minimum 5 Years warrenty .

## Test Technical Details.
Assay details (Master List)
|  |  | Calibration |  |  | Reagents |  |  |  | Quality control
| TEST | FDA/CE marked? | Calibration material used for each analyte | Calibrator stability | Frequency | Reagent Pack Size | Reagent On-Board Stability | Min. Manufacturer shelf life | Reagent supplied by (Manufacturer/Third party) | QC Supplied by (Manufacturer/Third party) | QC material used for each analyte | Comments
1 | IMT Na K Cl
2 | CH TIBC
3 | CH CO2_c
4 | CH DBil_2
5 | CH TBil_2
6 | CH Amm
7 | CH Upro
8 | CH Alb
9 | CH Triglyceride
10 | CH UN ( BUN)
11 | CH Calcium
12 | CH Crea_2
13 | CH GGT
14 | CH ALP AMP ( ALP_2)
15 | CH Iron_2
16 | CH CK
17 | CH Amylase
18 | CH TP
19 | CH ALT
20 | CH Lip
21 | CH AST
22 | CH UA- Uric Acid
23 | CH Chol_2
24 | CH uALB- MALB
25 | CH IP-Phosphatase
26 | CH Mg
27 | CH Lac
28 | CH GluH_3
29 | CH C4
30 | CH C3
31 | CH D-HDL
32 | CH CRP_2
33 | CH DLDL
34 | CH Acet
35 | CH Gent
36 | CH Vanc
37 | CH Dgn
38 | CH Valproic acid
39 | CH LDH (LDLP)
40 | CH ASO
41 | CH Phny
42 | CH RF
43 | Hba1c
44 | IM ACCP
45 | IM CpS
46 | IM AFP
47 | IM BNP
48 | IM CA 125II
49 | IM CA 15-3
50 | IM CA 19-9
51 | IM CEA
52 | IM CKMB
53 | IM Cor
54 | IM eE2
55 | IM Fer
56 | IM Fol
57 | IM FT3
58 | IM FT4 | FDA
59 | IM FSH | FDA
60 | IM aHBs2 | FDA
61 | IM HBsII | FDA
62 | IM ThCG | FDA
63 | IM aHCV | FDA
64 | IM CHIV | FDA
65 | IM tIgE | FDA
66 | IM LH | FDA
67 | IM PCT | FDA
68 | IM PRGE | FDA
69 | IM PRL | FDA
70 | IM fPSA | FDA
71 | IM PSA | FDA
72 | IM PTH | FDA
73 | IM Rub G | FDA
74 | IM TSTII | FDA
75 | IM aTG | FDA
76 | IM aTPO | FDA
77 | IM Insulin | FDA
78 | IM TNIH | FDA
79 | IM TSH3-UL | FDA
80 | IM VB12 | FDA
81 | IM Syph | FDA
82 | 25-OH Vitamin D Total Assay | CE
83 | 1,25 DIHYDROXYVITAMIN D | CE

## QC
No IQC | Not done
1 Level | Once Daily
2 Levels | Twice daily
3 Levels | Once every shift
Neg/Pos | Weekly
Not Applicable | Every 8 Hrs
On the day of testing
Every lot
Every Pack