## Sheet2
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| Ultrasound Machine for OBG Ward | 1 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No
Should have a FDA approval or CE Mark
1 | Exam Types: Abdominal, obstetrical, gynecological
2 | Operating Modes: B-mode, M-mode, PW mode, Color flor doppler, Power doppler mode, Tissue doppler mode, Volume Mode (3D/4D)
3 | Probes: 2D Convex probe, 2D Transvaginal Probe
4 | B & W Thermal Printer
5 | Screen Display: Patient name, patient ID, Hospital name, GA or LMP, Birth date, date and time, probe name, application name, mode, gray scale bar, depth scale, focal zone marker, frame rate
6 | Measurements: Generic measurements, Abdomen calculations, obstetrics calculations, obstetrics fetal echo, gynecology calculations, pediatric calculations, OB tables, fetal weight estimation, fetal ratios
7 | Minimum One Terra Byte Internal Hard Disk
8 | Full DICOM with Querry/ Retrieve , Print , MPPS , Worklist
9 | HDMI , DVI-D , DVI video output
10 | Stand alone unit with rechargeable Battery that can support for min 2-3 hours with quick boot
5 | Consumables
Should be Supplied with all standard consumables.
6 | Accessories
Should have All standard Accessories must be included as per manufacturer .
Available Additional Option
No. | OPTIONS DESCRIPTION |  |  |  | REQUIRED OR NOT REQUIRED
1
2
3
Important Notes & Obligatory Conditions
1 | Completing this compliance sheet is mandatory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void
2 | Complete on-site (off-site, if necessary) training for Biomedical Engineering Staff (Service Training) and End User Training ifor operator and Physians is required.
3 | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS ,FDA Approval ,CE Mark
4 | Rated Voltage: 240V(+/- 5% ) 228-252 Volts single Phase OR 415 ( +/- 5% ) 395 - 435 Volts three Phase, 50 Hz .Three core cable and the casing must be earthed. Three pin electrical plug.
5 | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
6 | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
7 | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
8 | Warranty must be minimum 3 years comprehensive from date of installation