## Sheet2
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| Mid Options Ultrasound Machines for OBG Center/OPD (Qty:2) | 2 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No
Should have a FDA approval or CE Mark
1 | Exam Types: Abdominal, obstetrical, gynecological, small parts and breast
2 | Operating Modes: B-mode, M-mode, PW mode, Color flor doppler, Power doppler mode, Tissue doppler mode, Volume Mode (3D/4D)
3 | Probes: Convex probe, Transvaginal Probe, 4D convex probe, 4D transvaginal probe
4 | Colour Thermal Printer
5 | B & W Thermal Printer
6 | Screen Display: Patient name, patient ID, Hospital name, GA or LMP, Birth date, date and time, probe name, application name, mode, gray scale bar, depth scale, focal zone marker, frame rate
7 | Measurements: Generic measurements, Abdomen calculations, small part calculations, obstetrics calculations, obstetrics fetal echo, cardiology calculations, transrectal calculations, vascular calculations, gynecology calculations, pediatric calculations, cephalic calculations, OB tables, fetal weight estimation, fetal ratios
8 | Minimum One Terra Byte Internal Hard Disk
9 | Full DICOM with Querry/ Retrieve , Print , MPPS , Worklist
10 | HDMI , DVI-D , DVI video output
11 | Built in Gel warmer in the main unit
12 | Integrated Bar code Reader for patient data reading (Optional)
13 | Should be compatible and purchased with viewpoint software
5 | Consumables
Should be Supplied with all standard consumables.
6 | Accessories
Should have All standard Accessories must be included as per manufacturer .
Available Additional Option
No. | OPTIONS DESCRIPTION |  |  |  | REQUIRED OR NOT REQUIRED
1
2
3
Important Notes & Obligatory Conditions
1 | Completing this compliance sheet is mandatory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void
2 | Complete on-site (off-site, if necessary) training for Biomedical Engineering Staff (Service Training) and End User Training ifor operator and Physians is required.
3 | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS ,FDA Approval ,CE Mark
4 | Rated Voltage: 240V(+/- 5% ) 228-252 Volts single Phase OR 415 ( +/- 5% ) 395 - 435 Volts three Phase, 50 Hz .Three core cable and the casing must be earthed. Three pin electrical plug.
5 | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
6 | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
7 | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
8 | Warranty must be minimum 3 years comprehensive from date of installation