## Sheet1
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
1 | BLS AMBULANCE | 1 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No (If Yes Specify)
Technical offer must be clear in terms of standards , which will be offered with the Ambulance and Optional features and items . Please specify the details clearly and requested specs/info must be well supported with reference documents.
1 | TECHNICAL SPECIFICATIONS OF VECHILE :
1.1 | Engine capacity in CC
1.2 | Maximum power in HP
1.3 | Torque in nm
1.4 | Specify Wheel base in mm
1.5 | Specify Fuel tank capacity (liters)
1.6 | Please Specify the mileage (km)
1.7 | Payload capacity (Pounds/kg)
2 | VEHICLE BODY DIMENSIONS :
2.1 | Specify Overall length in mm
2.2 | Specify Overall width in mm
2.3 | Specify Overall height in mm
3 | PATIENT COMPARTMENT DIMENSIONS ( TO BE SEPERATED FROM DRIVER CABIN)
3.1 | Patient stretcher light weight electric or manual (Preferably Aluminum body)
3.2 | Should be compatible with Neonatal Incubator( Dragger transport incubator with integrated ventilator), model T1500 Globe trotter.
3.3 | Specify Overall internal dimension (L*W*H) mm
3.4 | Specify Air condition , BTU's
3.4 | Seating Capacity and Other specifications as recommended by HAAD/DHA/SHA or EN1789 & other prevailing government regulations.
4 | TETRA COMMUNICATION DEVICE :
4.1 | As per Government requirements handheld/portable 2way communication device between dispatch, EMS provider and medical control
4.2 | EZ-1 Intraosseous set
4.3 | Spot Light in the back door of Ambulance
4.4 | GPS
4.5 | Reveres Camera
4.6 | Wheeled cot/patient stretcher
4.7 | Stair Chair /Carry Chair
5 | Flash Light
5.1 | with 2 Spare Batteries and bulb
6 | Seat Belts /Safety Harness
6.1 | All Designates seating position in the patient compartment shall be equipped with the safety restraint system appropriate for each type of seating configuration.
7 | Safety net/Catch net
7.1 | Shall be in place at the medic bench located at the patient compartment at the ambulance.
8 | Protective Helmet
8.1 | 1 for every EMS Staff
8.2 | Fire Extinguisher
8.3 | Fire Blanket
9 | Traffic Signaling devices
9.1 | Reflective material triangles or other reflective non-igniting devices
10 | Reflective safety wear
10.1 | For each EMS crew member
11 | OTHER STANDARD EQUIPMENTS / ACCESSORIES (OPTIONS)
11.1 | Oxygen Cylinder with Regulator up 15LPM
11.2 | Size: M: 2pcs Fixed Base
11.3 | SIZE: D: 1pcs
11.4 | As per DCAS/HAAD Requirement
12 | Wall Mounted Holder/bracket for Portable Suction Machine (Model:M30,SIMEX, GERMANY)
13 | Wall Mounted Holder/bracket compatible for both Portable Defibrillator Monitors (Model:Lifepak 20,Physiocontrol,USA and Heart start Intrepid, Philips )
14 | Sharp bin container
14.1 | Standard small sized container for responder bags, standard wall mounted or free standing venue EMS
15 | Quality and Patient safety
15.1 | Unit must be FDA / CE certified
15.2 | Unit must comply ,EN-1789,KKK certification,ISO13485 Quality management system for medical device or equivalent .
15.3 | Unit must comply with Electrical safety test IEC 60601-1,-2,-18 or equivalent
16 | Accessories
Supplied with all standard accessories.
17 | Consumables
Supplied with all standard consumables.
18 | Available Additional Option
No. | OPTIONS DESCRIPTION
19 | Important Notes & Obligatory Conditions
A. | Completing this compliance sheet is mandatory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Nurses and engineering /facilities /biomedical is required.
C. | Equipment Meets OR Exceeds EN-1789 ,KKK,IEC - 601, ISO, ANS, BS, JIS
D. | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the supplied equipment and Vehicle.
E. | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
F. | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Director of Engineering and Support Services
G. | All the Supplies must in accordance with all safety regulations and recommendation as per DHA/MOH/HAAD .
H. | Ambulance registration responsibility of the company it self
I. | Warranty : Comprehensive minimum 5 Years warranty .