## Casette Printer
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  |  | To be filled
1 | CASETTE PRINTER WITH AUTOLOADING (HISTOPATHOLOGY) | 1 | Comply |  | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No | Please specify the details
1 | Printing technology
2 | Print speed
3 | Ink type
4 | Number of prints per ribbon/cartridge
5 | Printable colours
6 | Print resolution
7 | Hoppers
8 | Cassette types:
9 | Autoloader capacity:
10 | Output tray capacity:
11 | Please specify the additional Features in the offered machine/model
12 | Please mention whether the offered system can be integreated with hopistal LIS system (Intersystems)
13 | The offered system must be flexible , easy to use and walkway system for our end users.
14 | Please provide the install base of the offered unit/model in U.A.E
15 | Device must be manufactured on good standards like Qulaity management system , ISO-13485
16 | Offered machine must be having good safety features , equipped with safety alrams , technical alrams and system interlocks.
17 | Offered unit -History of incident,recalls and safety alerts .
18 | FDA approved / CE Marked
2 | Accessories
Supplied with all standard accessories.
3 | Consumables
Supplied with all standard consumables.
4 | Avialable Additional Option
No. | OPTIONS DESCRIPTION
5 | Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) end user training for histopathology doctors , technicians and Service training for Biomedical Engineeing Staff is required.
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS
D. | Rated Voltage: 240V(+/- 5% ) 228-252 Volts single Phase OR 415 ( +/- 5% ) 395 - 435 Volts three Phase, 50 Hz .Three core cable and the casing must be earthed.Three pin electrical plug.
E. | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
F. | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
G. | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
H. | Warrenty : Comprehensive minimum 3 Years warrenty .

## Slide Printer
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  |  | To be filled
1 | SLIDE PRINTER (HISTOPTAHOLOGY LAB) | 1 | Comply |  | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No | Please specify the details
1 | Printing technology
2 | Print speed
3 | Ink type
4 | Number of prints per ribbon/cartridge
5 | Printable colours
6 | Print resolution
7 | Slide types
8 | Slide capacity
9 | Output tray capacity
10 | Please specify the additional Features in the offered machine/model
11 | Please mention whether the offered system can be integreated with hopistal LIS system (Intersystems)
12 | The offered system must be flexible , easy to use and walkway system for our end users.
13 | Please provide the install base of the offered unit/model in U.A.E
13 | Device must be manufactured on good standards like Qulaity management system , ISO-13485
14 | Offered machine must be having good safety features , equipped with safety alrams , technical alrams and system interlocks.
15 | Offered unit -History of incident,recalls and safety alerts .
16 | FDA approved / CE Marked
2 | Accessories
Supplied with all standard accessories.
3 | Consumables
Supplied with all standard consumables.
4 | Avialable Additional Option
No. | OPTIONS DESCRIPTION
5 | Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) end user training for histopathology doctors , technicians and Service training for Biomedical Engineeing Staff is required.
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS
D. | Rated Voltage: 240V(+/- 5% ) 228-252 Volts single Phase OR 415 ( +/- 5% ) 395 - 435 Volts three Phase, 50 Hz .Three core cable and the casing must be earthed.Three pin electrical plug.
E. | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
F. | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
G. | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
H. | Warrenty : Comprehensive minimum 3 Years warrenty .

## Specimen Storage Cabinet
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  |  | To be filled
1 | SPECIMEN STORAGE CABINET (HISTOPATHOLOGY LAB) | 1 | Comply |  | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No | Please specify with details
1 | Dimension (WXDXH in mm)
2 | Material: Inside/out Door
3 | Performance: Wind speed (m/s) Noise Lamp Fan Filter
4 | Electric: Power supply Power consumption
5 | Capacity
6 | Please specify the Additional available Option
7 | Please mention whether the system can be connected to the exhaust duct .
8 | Please provide the install base of the offered unit/model in U.A.E
8 | Device must be manufactured on good standards like Qulaity management system , ISO-13485
9 | Offered machine must be having good safety features , equipped with safety alrams , technical alrams and system interlocks.
10 | Offered unit -History of incident,recalls and safety alerts .
11 | FDA approved / CE Marked
2 | Accessories
Supplied with all standard accessories.
3 | Consumables
Supplied with all standard consumables.
4 | Avialable Additional Option
No. | OPTIONS DESCRIPTION
5 | Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) end user training for histopathology technicians and Service training for Biomedical Engineeing Staff is required.
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS
D. | Rated Voltage: 240V(+/- 5% ) 228-252 Volts single Phase OR 415 ( +/- 5% ) 395 - 435 Volts three Phase, 50 Hz .Three core cable and the casing must be earthed.Three pin electrical plug.
E. | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
F. | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
G. | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
H. | Warrenty : Comprehensive minimum 3 Years warrenty .