## Laproscopy Monitor
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| LAPROSCOPY MONITOR | 4 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No
Please Specify the details
1 | Screen diagonal
2 | Resolution
3 | Aspect Ratio
4 | Contrast Ratio
5 | Brightness
6 | Max- Viewing angle
7 | Video inputs
8 | Video Outputs
9 | Mount type
10 | Power Supply 220-240V
11 | Unit properties
12 | Power consumption
13 | Dimension w*h*d
14 | Weight
15 | Cleaning
16 | Degree of ingress protection
17 | FDA Approved / CE marked / CEE Directive 93/42 EEC.
2 | Accessories
Supplied with all standard accessories.
3 | Consumables
3.1 | Supplied with all standard consumables.
4 | Avialable Additional Option
No. | OPTIONS DESCRIPTION
4.1
Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Biomedical Engineeing Staff (Service Training) and for Nurses and Physicians (End User Training) is required.
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS
D. | Rated Voltage: 240V(+/- 5% ) 228-252 Volts single Phase OR 415 ( +/- 5% ) 395 - 435 Volts three Phase, 50 Hz .Three core cable and the casing must be earthed.Three pin electrical plug.
E. | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
F. | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
G. | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
H. | Warrenty : Comprehensive minimum 3 Years warrenty .

## Camera Head
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| Laproscopy Camera Head | 2 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No
Camera must be state of the art , User friendly , must be having latest technology minimum UHD 4k supported.
Please Specify the below information
1) | Frame Rate
2) | Image Sensor
3) | Resolution
4) | Scanning method
5) | Lens
6) | Focul length
7) | Dimension of the unit and Total Weight
8) | Grip mechanism
9) | Please specify the built-in technologies
10) | Please spicy the applicable Reprocesing methodlogies
10) | Camera head buttons
11) | Cable length
12) | Unit must be supllied with Sterilization tray
13) | Degree of protection
Quality and Patient safety
13) | Unit must be FDA / CE certified
14) | Unit must comply ISO 13485 Quality management system for medical device or equivalent .
15) | Unit must comply with Eletrical safety test IEC 60601-1,-2,-18 or equivalent
Technical offer must be clear in terms of standards , which will be offered with the machine and Optionals . Please specify the details clearly and all the requested spec/info must be well supported with reference documents.
2 | Accessories
Supplied with all standard accessories.
4 | Consumables
4.1 | Supplied with all standard consumables.
5 | Avialable Additional Option
No. | OPTIONS DESCRIPTION
Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Biomedical Engineeing Staff (Service Training) and for OT doctors and Nurses (End User Training) is required.
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS
D. | Rated Voltage: 240V(+/- 5% ) 228-252 Volts single Phase OR 415 ( +/- 5% ) 395 - 435 Volts three Phase, 50 Hz .Three core cable and the casing must be earthed.Three pin electrical plug.
E. | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
F. | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
G. | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
H. | Warrenty : Comprehensive minimum 3 Years warrenty .

## LightSource
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| Laproscopy Light Source | 2 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No
Camera must be state of the art , User friendly , must be having latest technology.
Please Specify the below information
1) | Illumination technology
2) | Color temperature
3) | Average Lamp Service life
4) | light intensity adjustment
5) | Power Comsumption
6) | Power frequency
7) | Weight of the Unit
8) | Cleaning methodlogy
9) | Degree of Safety
Quality and Patient safety
13) | Unit must be FDA / CE certified
14) | Unit must comply ISO 13485 Quality management system for medical device or equivalent .
15) | Unit must comply with Eletrical safety test IEC 60601-1,-2,-18 or equivalent
Technical offer must be clear in terms of standards , which will be offered with the machine and Optionals . Please specify the details clearly and all the requested spec/info must be well supported with reference documents.
2 | Accessories
Supplied with all standard accessories.
4 | Consumables
4.1 | Supplied with all standard consumables.
5 | Avialable Additional Option
No. | OPTIONS DESCRIPTION
Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Biomedical Engineeing Staff (Service Training) and for OT doctors and Nurses (End User Training) is required.
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS
D. | Rated Voltage: 240V(+/- 5% ) 228-252 Volts single Phase OR 415 ( +/- 5% ) 395 - 435 Volts three Phase, 50 Hz .Three core cable and the casing must be earthed.Three pin electrical plug.
E. | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
F. | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
G. | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
H. | Warrenty : Comprehensive minimum 3 Years warrenty .

## Suction Irrigation System
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| SUCTION AND IRRIGATION SYSTEM | 1 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No
Insflator system must be state of the art , User friendly , must be having latest technology.
Please Specify the below information
1) | Pressure
2) | Flow
4) | Suction Pressure Regulated
5) | Mesaurement/ Control System
6) | Parameters display
7) | Power Supply
8) | Weight of the Unit
9) | Unit must be FDA / CE certified
10) | Unit must comply ISO 13485 Quality management system for medical device or equivalent .
11) | Unit must comply with Eletrical safety test IEC 60601-1,-2,-18 or equivalent
Technical offer must be clear in terms of standard options , which will be offered with the machine and Optionals . Please specify the details clearly and all the requested spec/info must be well supported with reference documents.
2 | Accessories
Supplied with all standard accessories.
3 | Consumables
3.1 | Supplied with all standard consumables.
4 | Avialable Additional Option
No. | OPTIONS DESCRIPTION
Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Biomedical Engineeing Staff (Service Training) and for OT doctors and Nurses (End User Training) is required.
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS
D. | Rated Voltage: 240V(+/- 5% ) 228-252 Volts single Phase OR 415 ( +/- 5% ) 395 - 435 Volts three Phase, 50 Hz .Three core cable and the casing must be earthed.Three pin electrical plug.
E. | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
F. | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
G. | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
H. | Warrenty : Comprehensive minimum 3 Years warrenty .

## Insufflator
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
| INSUFFLATOR | 2 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No
Insflator system must be state of the art , User friendly , must be having latest technology.
Please Specify the below information
1) | Avaibility of Operating modes
2) | Gas Flow
3) | Gas Pressure
4) | Color display and touch Screen
5) | Mesaurement/ Control System
6) | Parameters display
7) | Power Supply
8) | Weight of the Unit
9) | Unit must be FDA / CE certified
10) | Unit must comply ISO 13485 Quality management system for medical device or equivalent .
11) | Unit must comply with Eletrical safety test IEC 60601-1,-2,-18 or equivalent
Technical offer must be clear in terms of standard options , which will be offered with the machine and Optionals . Please specify the details clearly and all the requested spec/info must be well supported with reference documents.
2 | Accessories
Supplied with all standard accessories.
3 | Consumables
3.1 | Supplied with all standard consumables.
4 | Avialable Additional Option
No. | OPTIONS DESCRIPTION
Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Biomedical Engineeing Staff (Service Training) and for OT doctors and Nurses (End User Training) is required.
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS
D. | Rated Voltage: 240V(+/- 5% ) 228-252 Volts single Phase OR 415 ( +/- 5% ) 395 - 435 Volts three Phase, 50 Hz .Three core cable and the casing must be earthed.Three pin electrical plug.
E. | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
F. | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
G. | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
H. | Warrenty : Comprehensive minimum 3 Years warrenty .