## Sheet1
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
1 | WIDE FIELD FUNDUS IMAGING SYSTEM | 1 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No
Top of the range, Compact ultra-wide field retinal imaging system, which supports the diagnosis, analysis, monitoring and documentation of ocular pathology in the periphery.
1 | Should be able to produce Ultra wide field image in one shot
2 | Should have eye steering option
3 | Fast exposure time
4 | 3-in-1 color Depth imaging provides important clinical data from the retinal surface through the choroid.
5 | Should have Blend option
6 | Should have 3D viewing option
7 | Should be take images through most cataracts and small pupils
8 | Imaging modes: Fluorescein angiography (FA), auto-fluorescence (AF), red free, Choroidal, Color and Indocyanine green angiography (ICGA)
9 | Should have image overlay tool
10 | Should have comparison of images in different image modes and from visit to visit.
11 | Should be Flash free to ensure patient comfort
12 | Should have Auto montage combining series of pictures into a single image showing up to 220 degrees or more.
13 | Comprehensive retinal analysis software package, with advanced image review platform
14 | Should have arm rest for FA procedures to ensure patient comfort
15 | Should be able to capture both FA and ICG modes in the same session
16 | Latest PC version HD LED Monitor, 1 TB HD, 8GB RAM, OS Windows 10 or higher, DVD-R/RW, USB interface and laser jet printer.
17 | The unit must be able to connect to hospital HIS system(Intersystem Trackcare) doctor's rooms for easy view of the images without the need for printout and viewing software should be provided along with main unit.
18 | Mounted on motorized table
FDA Approved or CE marked
2 | Accessories
Supplied with all standard accessories.
3 | Consumables
Supplied with all standard consumables.
4 | Avialable Additional Option
No. | OPTIONS DESCRIPTION
5 | Important Notes & Obligatory Conditions
A. | Completeing this compliance sheet is manditory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) end user training for opthalmology doctors and Nurses and Service training for Biomedical Engineeing Staff is required.
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS
D. | Rated Voltage: 240V(+/- 5% ) 228-252 Volts single Phase OR 415 ( +/- 5% ) 395 - 435 Volts three Phase, 50 Hz .Three core cable and the casing must be earthed.Three pin electrical plug.
E. | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
F. | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
G. | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
H. | Warranty : Comprehensive minimum 3 Years warrenty .