## draft
Indicative Specifications / Evaluation Form
Item No. | Item Description | Qty. | To Be Filled By Vendor |  | To be filled
1 | Fully Automated Semen Analyzer | 1 | Comply | Supporting Documents Ref. | by Hospital
| Specifications |  | Yes/No (If Yes Specify)
1 | Technical offer must be clear in terms of standards , which will be offered with the Fully Automated semen Anaylzer and Optional items . Please specify the details clearly and all the requested specification info must be well supported with reference documents.
2 | Specify Origin, Make and Model of the unit
3 | Fully automated semen analyzer for clinical laboratory use (hospital)
4 | Average workload capacity 15–20 samples/month, for future expansion
5 | Short analysis turn around time
6 | Supports fresh semen and post-vasectomy samples
7 | Electro-optical/spectrophotometry method for sperm motility and concentration analysis
8 | Results compliant with WHO Laboratory Manual (5th & 6th editions)
9 | Measures semen volume, viscosity, liquefaction time, appearance, Measures sperm concentration and total sperm count, progressive, non-progressive, and total motility
10 | Provides sperm vitality assessment
11 | White blood cell (WBC) concentration detection, PH
12 | Dedicated high-sensitivity mode for azoospermia, Low sperm concentration detection (severe oligozoospermia)
13 | Maintains accuracy in presence of debris or high viscosity
14 | Detects and flags interfering factors affecting analysis
15 | Provides motility video recording output & sperm morphology image capture
16 | LIS connectivity - Automatic result transmission to LIS
17 | High-capacity internal storage for sample history
18 | Secure archiving and retrieval of patient data
19 | Daily, weekly, and batch QC monitoring
20 | Levey-Jennings charting or equivalent statistical QC tools
21 | Stable and validated QC and reagent materials
22 | Long shelf-life reagents with lot-to-lot traceability
23 | Simple maintenance with minimal operator training required
24 | Number of Installation in UAE
25 | Quality and Patient safety
25.1 | Unit must be FDA / CE certified
25.2 | Unit must comply ISO 13485 Quality management system for medical device or equivalent .
25.3 | Unit must comply with Electrical safety test IEC 60601-1,-2,-18 or equivalent
25.4 | Compatible with External Quality Assessment (EQA) programs (e.g., CAP or equivalent proficiency testing schemes)
26 | Sample Consumption
15-20/Month
27 | Accessories
Supplied with all standard accessories.
28 | Consumables
Supplied with all standard consumables.
29 | Available Additional Option
No. | OPTIONS DESCRIPTION
30 | Important Notes & Obligatory Conditions
A. | Completing this compliance sheet is mandatory. All the information to be provided by the vendor in the compliance sheet must be 100% true. Any false information given will result in an immediate disqualification and the offer shall be considered null and void.
B. | Complete on-site (off-site, if necessary) training for Biomedical Engineering Staff (Service Training) and End user training for lab staff and later as needed .
C. | Equipment Meets OR Exceeds IEC - 601, ISO, ANS, BS, JIS,CAP
D | A Price List For Spare Parts: Must be provided to cover at least 7 years of operation and maintenance of the equipment supplied.
E | Operation And Service Manuals: All Manuals must be supplied as " Standard Requirements of Technical Documents " for all Medical Equipment. Two Copies each and one Soft Copy for each.
F | Installation: All equipment must be installed by the manufacturer's engineer(s) or those approved from the Hospital Biomedical Engineering Department.
G | Warranty : Comprehensive minimum 5 Years warranty .